## Total heat gas boilers
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C | 16.5°C to 19.5°C
0:30 | 0.0078037 | 0.0066093 | 0.0053458 | 0.0048166 | 0.0047283 | 0.0051716 | 0.0060379 | 0.0063081 | This sheet provides half-hourly normalised profiles of total heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1). They are based on the cleaned, weighted EDRP dataset. These profiles are shown in Figure 6b in Watson et al (2018). In case of queries, contact s.watson@lboro.ac.uk
1:00 | 0.0073545 | 0.0062196 | 0.0049654 | 0.0044157 | 0.0042646 | 0.0046217 | 0.0054352 | 0.0057961
1:30 | 0.0070923 | 0.0059403 | 0.0047299 | 0.0040931 | 0.0039657 | 0.0042917 | 0.0052019 | 0.0055637
2:00 | 0.0072952 | 0.0058855 | 0.0046841 | 0.0040526 | 0.003891 | 0.0042194 | 0.0050594 | 0.0054546
2:30 | 0.0072838 | 0.005878 | 0.0046656 | 0.0040368 | 0.0038904 | 0.0041826 | 0.0049874 | 0.0054363
3:00 | 0.0072839 | 0.0059738 | 0.0048092 | 0.0041838 | 0.004038 | 0.0043511 | 0.0053028 | 0.0057039
3:30 | 0.0076892 | 0.0062764 | 0.005133 | 0.0045051 | 0.0044436 | 0.0046561 | 0.0055404 | 0.0058742
4:00 | 0.0081008 | 0.0067578 | 0.0057201 | 0.0051711 | 0.005145 | 0.0055426 | 0.0062776 | 0.006652
4:30 | 0.0091049 | 0.0079238 | 0.0070697 | 0.0065876 | 0.00662 | 0.0070906 | 0.007647 | 0.0081516
5:00 | 0.01076 | 0.010452 | 0.010234 | 0.0099475 | 0.010487 | 0.011122 | 0.011328 | 0.012039
5:30 | 0.013428 | 0.013996 | 0.014698 | 0.01519 | 0.016629 | 0.017719 | 0.017283 | 0.018186
6:00 | 0.01774 | 0.019879 | 0.022011 | 0.023571 | 0.026236 | 0.027882 | 0.027528 | 0.028124
6:30 | 0.022579 | 0.026206 | 0.029789 | 0.032916 | 0.036502 | 0.039195 | 0.03948 | 0.039502
7:00 | 0.02708 | 0.030517 | 0.03463 | 0.038258 | 0.041777 | 0.044226 | 0.044045 | 0.043873
7:30 | 0.028089 | 0.031165 | 0.034669 | 0.03774 | 0.040697 | 0.042346 | 0.042818 | 0.041999
8:00 | 0.028375 | 0.03015 | 0.032151 | 0.034128 | 0.035787 | 0.036763 | 0.037652 | 0.037219
8:30 | 0.028419 | 0.028667 | 0.028915 | 0.029438 | 0.029938 | 0.030272 | 0.031376 | 0.03161
9:00 | 0.026831 | 0.02649 | 0.025174 | 0.0245 | 0.023892 | 0.024377 | 0.025935 | 0.02644
9:30 | 0.02627 | 0.025151 | 0.022738 | 0.021059 | 0.020039 | 0.020445 | 0.022299 | 0.023201
10:00 | 0.02559 | 0.024019 | 0.020965 | 0.018557 | 0.017174 | 0.017394 | 0.019293 | 0.020181
10:30 | 0.024452 | 0.023095 | 0.019702 | 0.017016 | 0.015252 | 0.015425 | 0.01749 | 0.018655
11:00 | 0.02375 | 0.022512 | 0.019044 | 0.016163 | 0.014276 | 0.014452 | 0.016225 | 0.017462
11:30 | 0.023598 | 0.022216 | 0.018909 | 0.016029 | 0.014111 | 0.01426 | 0.016051 | 0.017447
12:00 | 0.02351 | 0.022338 | 0.019409 | 0.016802 | 0.014913 | 0.01487 | 0.016803 | 0.018366
12:30 | 0.023355 | 0.022346 | 0.019572 | 0.017226 | 0.014977 | 0.014626 | 0.016297 | 0.017801
13:00 | 0.023111 | 0.022311 | 0.019631 | 0.017366 | 0.014805 | 0.014288 | 0.015526 | 0.016867
13:30 | 0.023171 | 0.022463 | 0.019893 | 0.017528 | 0.014749 | 0.013989 | 0.014697 | 0.015691
14:00 | 0.023253 | 0.02272 | 0.020273 | 0.018052 | 0.015116 | 0.013989 | 0.014177 | 0.015017
14:30 | 0.023893 | 0.023454 | 0.02137 | 0.01922 | 0.016247 | 0.01446 | 0.014236 | 0.014992
15:00 | 0.02514 | 0.025164 | 0.023906 | 0.022122 | 0.019026 | 0.016436 | 0.015738 | 0.016295
15:30 | 0.026439 | 0.027086 | 0.026869 | 0.026005 | 0.023076 | 0.019976 | 0.018931 | 0.019666
16:00 | 0.028508 | 0.029961 | 0.031347 | 0.031791 | 0.030139 | 0.027143 | 0.026387 | 0.027345
16:30 | 0.030295 | 0.032249 | 0.03506 | 0.03682 | 0.036701 | 0.035098 | 0.035492 | 0.036964
17:00 | 0.031318 | 0.033621 | 0.037307 | 0.039827 | 0.040844 | 0.039771 | 0.040375 | 0.042173
17:30 | 0.031276 | 0.033429 | 0.037047 | 0.039443 | 0.040835 | 0.040303 | 0.039118 | 0.040162
18:00 | 0.030759 | 0.033003 | 0.036459 | 0.039013 | 0.04092 | 0.040542 | 0.039238 | 0.039588
18:30 | 0.030279 | 0.032247 | 0.035533 | 0.038163 | 0.039978 | 0.039848 | 0.037958 | 0.037016
19:00 | 0.029803 | 0.031321 | 0.03428 | 0.036842 | 0.03859 | 0.038267 | 0.035664 | 0.033701
19:30 | 0.028834 | 0.030265 | 0.032794 | 0.035057 | 0.036564 | 0.035957 | 0.032773 | 0.029624
20:00 | 0.027757 | 0.029024 | 0.031166 | 0.033187 | 0.03483 | 0.033931 | 0.030548 | 0.026892
20:30 | 0.026664 | 0.027537 | 0.029284 | 0.030903 | 0.032363 | 0.031567 | 0.028006 | 0.024277
21:00 | 0.025099 | 0.02542 | 0.026754 | 0.027837 | 0.029204 | 0.028863 | 0.025321 | 0.021739
21:30 | 0.023117 | 0.022673 | 0.023574 | 0.024143 | 0.025053 | 0.025068 | 0.022126 | 0.019081
22:00 | 0.019661 | 0.018721 | 0.019135 | 0.019229 | 0.01995 | 0.020616 | 0.018927 | 0.016577
22:30 | 0.016266 | 0.014433 | 0.014265 | 0.014104 | 0.014453 | 0.015319 | 0.014776 | 0.01342
23:00 | 0.013057 | 0.010805 | 0.010283 | 0.0099771 | 0.01007 | 0.010858 | 0.011126 | 0.010474
23:30 | 0.010412 | 0.0084005 | 0.0077554 | 0.0072845 | 0.0071687 | 0.0079368 | 0.008534 | 0.0083817
24:00 | 0.0090528 | 0.007031 | 0.0062826 | 0.0056817 | 0.0056453 | 0.0062726 | 0.0069326 | 0.0070104

## Total heat 75% ASHP 25% GSHP
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C | 16.5°C to 19.5°C
0:30 | 0.013238 | 0.013761 | 0.013316 | 0.013234 | 0.013438 | 0.014294 | 0.01497 | 0.015989 | This sheet provides half-hourly normalised profiles of total heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1), for the mix of heat pumps found in the RHPP sample (75% air-source, 25% ground-source). They are based on the cleaned RHPP dataset, and are considered as the "base case" in Watson et al (2021).
1:00 | 0.013575 | 0.014002 | 0.013554 | 0.013399 | 0.01373 | 0.015008 | 0.015975 | 0.017195
1:30 | 0.014049 | 0.014396 | 0.013999 | 0.013794 | 0.01434 | 0.016217 | 0.017813 | 0.019887
2:00 | 0.014299 | 0.014657 | 0.014339 | 0.014121 | 0.014784 | 0.016943 | 0.018909 | 0.021343
2:30 | 0.014679 | 0.015102 | 0.014969 | 0.014852 | 0.01581 | 0.0186 | 0.02141 | 0.024631
3:00 | 0.015216 | 0.015587 | 0.015611 | 0.015571 | 0.01671 | 0.019808 | 0.023004 | 0.026169
3:30 | 0.01601 | 0.016302 | 0.016485 | 0.016535 | 0.017918 | 0.021468 | 0.025262 | 0.028584
4:00 | 0.016691 | 0.016885 | 0.01712 | 0.017153 | 0.018488 | 0.021793 | 0.025343 | 0.027767
4:30 | 0.017491 | 0.017719 | 0.017998 | 0.018075 | 0.019456 | 0.022825 | 0.026492 | 0.028505
5:00 | 0.018382 | 0.01869 | 0.019059 | 0.019157 | 0.020533 | 0.023857 | 0.027395 | 0.028961
5:30 | 0.019382 | 0.02009 | 0.020712 | 0.020891 | 0.02246 | 0.025964 | 0.029364 | 0.030522
6:00 | 0.020579 | 0.021722 | 0.022734 | 0.022958 | 0.024688 | 0.027852 | 0.030255 | 0.030219
6:30 | 0.022247 | 0.023721 | 0.025149 | 0.025493 | 0.027491 | 0.030157 | 0.031145 | 0.029603
7:00 | 0.024169 | 0.025551 | 0.02728 | 0.02764 | 0.029709 | 0.03152 | 0.030991 | 0.028333
7:30 | 0.025731 | 0.026827 | 0.028648 | 0.028906 | 0.030817 | 0.031761 | 0.030094 | 0.026976
8:00 | 0.026545 | 0.027268 | 0.028926 | 0.028895 | 0.030321 | 0.030412 | 0.028142 | 0.025186
8:30 | 0.026611 | 0.027019 | 0.028319 | 0.028025 | 0.02884 | 0.028352 | 0.026077 | 0.023612
9:00 | 0.02615 | 0.026329 | 0.027135 | 0.026652 | 0.02684 | 0.025937 | 0.023956 | 0.022075
9:30 | 0.025387 | 0.025315 | 0.025602 | 0.025039 | 0.024716 | 0.023544 | 0.021965 | 0.020549
10:00 | 0.024482 | 0.024195 | 0.023999 | 0.023398 | 0.02273 | 0.021364 | 0.020104 | 0.018964
10:30 | 0.023652 | 0.023084 | 0.022521 | 0.021952 | 0.021078 | 0.019607 | 0.018647 | 0.017697
11:00 | 0.02282 | 0.022128 | 0.021314 | 0.020842 | 0.019796 | 0.018239 | 0.017481 | 0.016793
11:30 | 0.022089 | 0.02142 | 0.020499 | 0.020205 | 0.019042 | 0.017583 | 0.017088 | 0.016902
12:00 | 0.021384 | 0.020892 | 0.019981 | 0.019841 | 0.018576 | 0.0173 | 0.017048 | 0.017384
12:30 | 0.020791 | 0.02056 | 0.019731 | 0.019723 | 0.018455 | 0.017455 | 0.017526 | 0.018273
13:00 | 0.020293 | 0.020235 | 0.019418 | 0.019493 | 0.018192 | 0.017227 | 0.017378 | 0.018239
13:30 | 0.020014 | 0.020054 | 0.019186 | 0.019387 | 0.018105 | 0.017193 | 0.017501 | 0.018529
14:00 | 0.01991 | 0.019884 | 0.018973 | 0.019257 | 0.017908 | 0.016806 | 0.017029 | 0.018042
14:30 | 0.020156 | 0.020008 | 0.019164 | 0.019525 | 0.018211 | 0.017083 | 0.017469 | 0.018741
15:00 | 0.020618 | 0.020317 | 0.019587 | 0.019948 | 0.018596 | 0.017222 | 0.017544 | 0.018916
15:30 | 0.021414 | 0.020995 | 0.020424 | 0.020827 | 0.019581 | 0.018202 | 0.018737 | 0.020356
16:00 | 0.022204 | 0.021754 | 0.021345 | 0.021753 | 0.02053 | 0.01889 | 0.019355 | 0.020535
16:30 | 0.023049 | 0.022673 | 0.022479 | 0.02292 | 0.021887 | 0.020213 | 0.020757 | 0.021473
17:00 | 0.02377 | 0.023492 | 0.023475 | 0.023872 | 0.022969 | 0.021101 | 0.021397 | 0.021399
17:30 | 0.024404 | 0.024207 | 0.024294 | 0.024619 | 0.023935 | 0.022117 | 0.022078 | 0.021681
18:00 | 0.024835 | 0.024546 | 0.024673 | 0.024866 | 0.024309 | 0.022453 | 0.021735 | 0.020767
18:30 | 0.024997 | 0.024585 | 0.024727 | 0.024812 | 0.024414 | 0.022662 | 0.021264 | 0.019894
19:00 | 0.024991 | 0.024388 | 0.024541 | 0.024554 | 0.024259 | 0.022566 | 0.02057 | 0.018888
19:30 | 0.024906 | 0.024159 | 0.024274 | 0.024258 | 0.024039 | 0.022407 | 0.020066 | 0.018321
20:00 | 0.024803 | 0.023928 | 0.023983 | 0.023933 | 0.023724 | 0.022103 | 0.019465 | 0.017666
20:30 | 0.024468 | 0.023579 | 0.023599 | 0.023513 | 0.023308 | 0.021741 | 0.018923 | 0.017099
21:00 | 0.02381 | 0.023004 | 0.023022 | 0.022907 | 0.022707 | 0.021306 | 0.018343 | 0.016469
21:30 | 0.022609 | 0.021954 | 0.021948 | 0.021818 | 0.02164 | 0.020545 | 0.017793 | 0.016056
22:00 | 0.020825 | 0.020342 | 0.020291 | 0.020155 | 0.019991 | 0.019264 | 0.016982 | 0.015524
22:30 | 0.018452 | 0.018203 | 0.018079 | 0.01794 | 0.0178 | 0.017449 | 0.015991 | 0.015119
23:00 | 0.016113 | 0.016094 | 0.015884 | 0.015776 | 0.015644 | 0.015547 | 0.014853 | 0.014639
23:30 | 0.014314 | 0.014557 | 0.014229 | 0.014158 | 0.0141 | 0.014263 | 0.014227 | 0.014701
24:00 | 0.013398 | 0.013821 | 0.013406 | 0.013359 | 0.013384 | 0.013783 | 0.014085 | 0.014826

## Total heat daytime HPs
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C | 16.5°C to 19.5°C
0:30 | 0.0029364 | 0.0039564 | 0.0037439 | 0.0037273 | 0.0045219 | 0.0067273 | 0.009913 | 0.013218 | This sheet provides half-hourly normalised profiles of total heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1), for the heat pumps found in the cleaned RHPP sample which were operated in the "daytime" heating pattern (i.e. one period of heating per day), as found by clustering of profiles.
1:00 | 0.0025698 | 0.0038079 | 0.0034776 | 0.0034451 | 0.0041657 | 0.0064772 | 0.0097523 | 0.013181
1:30 | 0.0026033 | 0.0039133 | 0.0035698 | 0.0035223 | 0.0042238 | 0.0066761 | 0.010243 | 0.013997
2:00 | 0.0027542 | 0.0040499 | 0.0037657 | 0.0037121 | 0.0043782 | 0.006912 | 0.010713 | 0.014664
2:30 | 0.0034481 | 0.0047012 | 0.0044639 | 0.0043966 | 0.0052893 | 0.0085337 | 0.013389 | 0.018714
3:00 | 0.0043309 | 0.0055823 | 0.005206 | 0.0051041 | 0.0062504 | 0.010177 | 0.015863 | 0.022167
3:30 | 0.0056095 | 0.0068487 | 0.0062894 | 0.0061766 | 0.0076611 | 0.012315 | 0.019005 | 0.026434
4:00 | 0.0070539 | 0.0079166 | 0.0073076 | 0.0072597 | 0.0088745 | 0.013551 | 0.020549 | 0.027667
4:30 | 0.0090343 | 0.009378 | 0.0089483 | 0.0090736 | 0.010769 | 0.015651 | 0.023342 | 0.031072
5:00 | 0.011292 | 0.011206 | 0.011135 | 0.011422 | 0.013059 | 0.018231 | 0.026818 | 0.035313
5:30 | 0.013982 | 0.014181 | 0.014526 | 0.014977 | 0.016777 | 0.022569 | 0.031331 | 0.039218
6:00 | 0.017507 | 0.018207 | 0.019103 | 0.019604 | 0.021713 | 0.027495 | 0.034812 | 0.039269
6:30 | 0.022231 | 0.023347 | 0.024818 | 0.025447 | 0.028123 | 0.03322 | 0.036944 | 0.035874
7:00 | 0.026771 | 0.02802 | 0.030018 | 0.030511 | 0.033224 | 0.036303 | 0.036002 | 0.030771
7:30 | 0.029928 | 0.031355 | 0.033526 | 0.033813 | 0.036124 | 0.03709 | 0.033539 | 0.026182
8:00 | 0.03124 | 0.032857 | 0.034804 | 0.034672 | 0.036054 | 0.035288 | 0.030527 | 0.023527
8:30 | 0.03161 | 0.033155 | 0.034649 | 0.034238 | 0.034807 | 0.033294 | 0.028684 | 0.023086
9:00 | 0.031534 | 0.032697 | 0.033681 | 0.033038 | 0.032888 | 0.03097 | 0.027037 | 0.023178
9:30 | 0.031317 | 0.031756 | 0.032294 | 0.031566 | 0.030877 | 0.028655 | 0.025361 | 0.022772
10:00 | 0.030959 | 0.030624 | 0.030737 | 0.030008 | 0.028806 | 0.026268 | 0.023509 | 0.021528
10:30 | 0.03045 | 0.029461 | 0.029217 | 0.028594 | 0.026948 | 0.024145 | 0.021877 | 0.019989
11:00 | 0.029723 | 0.028404 | 0.027897 | 0.027435 | 0.025473 | 0.022494 | 0.020557 | 0.018727
11:30 | 0.02886 | 0.027547 | 0.026978 | 0.026742 | 0.024708 | 0.021988 | 0.020671 | 0.019129
12:00 | 0.028054 | 0.026837 | 0.026377 | 0.026354 | 0.024349 | 0.021967 | 0.021252 | 0.020401
12:30 | 0.02728 | 0.026307 | 0.026027 | 0.026195 | 0.024265 | 0.022292 | 0.022111 | 0.022104
13:00 | 0.026721 | 0.025764 | 0.025484 | 0.025735 | 0.02375 | 0.021684 | 0.021206 | 0.021861
13:30 | 0.026384 | 0.025351 | 0.024861 | 0.025182 | 0.023154 | 0.020923 | 0.01998 | 0.020924
14:00 | 0.026364 | 0.025013 | 0.024221 | 0.024539 | 0.02236 | 0.019566 | 0.0178 | 0.01836
14:30 | 0.026724 | 0.025133 | 0.024162 | 0.024542 | 0.022368 | 0.019616 | 0.017977 | 0.018798
15:00 | 0.027405 | 0.025553 | 0.024619 | 0.025006 | 0.022888 | 0.020365 | 0.019108 | 0.020404
15:30 | 0.028168 | 0.026235 | 0.025587 | 0.026007 | 0.024143 | 0.022229 | 0.021725 | 0.023848
16:00 | 0.02836 | 0.026677 | 0.026392 | 0.026731 | 0.025002 | 0.022819 | 0.021851 | 0.02308
16:30 | 0.028071 | 0.027038 | 0.027124 | 0.027443 | 0.025999 | 0.023422 | 0.021861 | 0.022005
17:00 | 0.027722 | 0.027304 | 0.027551 | 0.027845 | 0.026698 | 0.02357 | 0.021389 | 0.020058
17:30 | 0.027728 | 0.027585 | 0.027844 | 0.028097 | 0.027392 | 0.024284 | 0.021994 | 0.019886
18:00 | 0.027959 | 0.027682 | 0.027779 | 0.027878 | 0.027399 | 0.024321 | 0.02147 | 0.018151
18:30 | 0.02806 | 0.027617 | 0.027513 | 0.027399 | 0.027092 | 0.024335 | 0.020594 | 0.016405
19:00 | 0.028121 | 0.027457 | 0.027152 | 0.026891 | 0.026742 | 0.024312 | 0.019853 | 0.01499
19:30 | 0.027984 | 0.02718 | 0.026736 | 0.026409 | 0.02652 | 0.024489 | 0.01984 | 0.014864
20:00 | 0.027679 | 0.026696 | 0.026238 | 0.025935 | 0.026307 | 0.024601 | 0.020133 | 0.015043
20:30 | 0.026691 | 0.025811 | 0.025465 | 0.025219 | 0.025719 | 0.024379 | 0.020088 | 0.015223
21:00 | 0.025009 | 0.024439 | 0.024251 | 0.024061 | 0.02459 | 0.023619 | 0.019452 | 0.015056
21:30 | 0.022128 | 0.02209 | 0.021974 | 0.021831 | 0.0223 | 0.021741 | 0.018044 | 0.014726
22:00 | 0.018193 | 0.0186 | 0.018462 | 0.018341 | 0.018815 | 0.018742 | 0.016061 | 0.013973
22:30 | 0.013362 | 0.01406 | 0.013887 | 0.013797 | 0.014309 | 0.014877 | 0.013812 | 0.013177
23:00 | 0.0088314 | 0.0096472 | 0.0094774 | 0.0094253 | 0.010025 | 0.011159 | 0.011701 | 0.012262
23:30 | 0.0055438 | 0.0063535 | 0.0062163 | 0.0061996 | 0.0068945 | 0.0085132 | 0.010416 | 0.012228
24:00 | 0.0037184 | 0.0045984 | 0.00445 | 0.0044535 | 0.0052085 | 0.0071433 | 0.009842 | 0.012491

## Total heat bimodal HPs
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C | 16.5°C to 19.5°C
0:30 | 0.0054785 | 0.004478 | 0.0046365 | 0.005248 | 0.0064528 | 0.0086261 | 0.010414 | 0.01337 | This sheet provides half-hourly normalised profiles of total heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1), for the heat pumps found in the cleaned RHPP sample which were operated in the "bimodal" heating pattern (i.e. heating in the morning and evening), as found by clustering of profiles.
1:00 | 0.0060625 | 0.0046851 | 0.0044621 | 0.0049643 | 0.0059487 | 0.0079084 | 0.0090598 | 0.011308
1:30 | 0.0068443 | 0.0051428 | 0.0045414 | 0.0049348 | 0.0058705 | 0.0079581 | 0.008872 | 0.010861
2:00 | 0.0062717 | 0.0052037 | 0.0045552 | 0.0048538 | 0.0058345 | 0.0079519 | 0.009111 | 0.010786
2:30 | 0.0061966 | 0.0054867 | 0.0049563 | 0.0053117 | 0.0063909 | 0.008861 | 0.010507 | 0.012276
3:00 | 0.0066111 | 0.0059314 | 0.0056791 | 0.0061683 | 0.007272 | 0.0099779 | 0.012016 | 0.014109
3:30 | 0.008423 | 0.0072627 | 0.007248 | 0.0079246 | 0.0094838 | 0.013071 | 0.015808 | 0.019011
4:00 | 0.010775 | 0.0094154 | 0.0094399 | 0.010328 | 0.012853 | 0.018198 | 0.021954 | 0.026598
4:30 | 0.014301 | 0.01341 | 0.013489 | 0.014753 | 0.018913 | 0.027839 | 0.034334 | 0.040395
5:00 | 0.017675 | 0.017669 | 0.018261 | 0.01987 | 0.024791 | 0.036048 | 0.044013 | 0.049977
5:30 | 0.019488 | 0.021152 | 0.022989 | 0.024704 | 0.029276 | 0.039901 | 0.047745 | 0.051549
6:00 | 0.020979 | 0.023421 | 0.026749 | 0.028233 | 0.031174 | 0.036839 | 0.039885 | 0.040122
6:30 | 0.023612 | 0.026362 | 0.030786 | 0.031999 | 0.033664 | 0.034237 | 0.032504 | 0.029994
7:00 | 0.028143 | 0.030352 | 0.035177 | 0.036024 | 0.036589 | 0.033337 | 0.027286 | 0.022702
7:30 | 0.031393 | 0.03329 | 0.037898 | 0.038303 | 0.038329 | 0.033811 | 0.02712 | 0.021748
8:00 | 0.032369 | 0.033743 | 0.037346 | 0.037111 | 0.036657 | 0.032199 | 0.026072 | 0.020438
8:30 | 0.029886 | 0.031003 | 0.033151 | 0.032476 | 0.031885 | 0.028547 | 0.024167 | 0.019775
9:00 | 0.025847 | 0.026975 | 0.027429 | 0.026477 | 0.025606 | 0.023434 | 0.02047 | 0.018453
9:30 | 0.021167 | 0.022302 | 0.021417 | 0.020434 | 0.019421 | 0.018211 | 0.016783 | 0.01711
10:00 | 0.017759 | 0.018525 | 0.01657 | 0.015553 | 0.01458 | 0.013966 | 0.01386 | 0.015885
10:30 | 0.015616 | 0.015748 | 0.013212 | 0.012246 | 0.011672 | 0.01153 | 0.012458 | 0.014728
11:00 | 0.014842 | 0.014497 | 0.011631 | 0.010752 | 0.010367 | 0.010392 | 0.011775 | 0.014223
11:30 | 0.01457 | 0.014366 | 0.011662 | 0.010971 | 0.010756 | 0.011089 | 0.012449 | 0.014724
12:00 | 0.014263 | 0.014972 | 0.012559 | 0.012043 | 0.011858 | 0.012605 | 0.013972 | 0.01581
12:30 | 0.013365 | 0.015439 | 0.013422 | 0.013091 | 0.013122 | 0.014217 | 0.015607 | 0.01624
13:00 | 0.012118 | 0.015311 | 0.013251 | 0.013047 | 0.012875 | 0.013646 | 0.015215 | 0.014701
13:30 | 0.011748 | 0.014991 | 0.012651 | 0.012603 | 0.012275 | 0.012783 | 0.014719 | 0.014174
14:00 | 0.012555 | 0.015023 | 0.012501 | 0.012524 | 0.012104 | 0.012562 | 0.015191 | 0.015069
14:30 | 0.01499 | 0.016039 | 0.013768 | 0.013783 | 0.013698 | 0.014252 | 0.017488 | 0.018164
15:00 | 0.017788 | 0.01775 | 0.015927 | 0.01573 | 0.015721 | 0.015564 | 0.018695 | 0.019182
15:30 | 0.021723 | 0.021132 | 0.019779 | 0.019526 | 0.019656 | 0.019014 | 0.021994 | 0.022454
16:00 | 0.025857 | 0.025404 | 0.024563 | 0.024413 | 0.024372 | 0.023336 | 0.025827 | 0.025746
16:30 | 0.030532 | 0.030514 | 0.030508 | 0.030685 | 0.030694 | 0.029624 | 0.031609 | 0.031337
17:00 | 0.033998 | 0.034156 | 0.034884 | 0.035029 | 0.0342 | 0.031469 | 0.031585 | 0.030901
17:30 | 0.036891 | 0.036885 | 0.037988 | 0.037823 | 0.036214 | 0.031897 | 0.030215 | 0.029215
18:00 | 0.038694 | 0.038134 | 0.038965 | 0.03827 | 0.035655 | 0.029971 | 0.02651 | 0.02481
18:30 | 0.040122 | 0.03894 | 0.039279 | 0.038297 | 0.035602 | 0.029994 | 0.025623 | 0.023147
19:00 | 0.040672 | 0.038764 | 0.03851 | 0.037473 | 0.034816 | 0.029363 | 0.02417 | 0.021199
19:30 | 0.040768 | 0.038058 | 0.037316 | 0.036415 | 0.033961 | 0.028733 | 0.023135 | 0.020288
20:00 | 0.040018 | 0.036825 | 0.035723 | 0.034854 | 0.032217 | 0.027109 | 0.021328 | 0.018946
20:30 | 0.038181 | 0.035036 | 0.033945 | 0.033008 | 0.030191 | 0.025428 | 0.019895 | 0.017858
21:00 | 0.035079 | 0.032729 | 0.031986 | 0.031057 | 0.02834 | 0.024455 | 0.019313 | 0.016912
21:30 | 0.030602 | 0.029209 | 0.029145 | 0.028482 | 0.026216 | 0.023655 | 0.019607 | 0.016315
22:00 | 0.024474 | 0.024063 | 0.024831 | 0.024674 | 0.023126 | 0.021997 | 0.019505 | 0.015404
22:30 | 0.017341 | 0.017393 | 0.018869 | 0.019172 | 0.018421 | 0.01852 | 0.018156 | 0.015114
23:00 | 0.011111 | 0.011093 | 0.012718 | 0.013337 | 0.013544 | 0.014575 | 0.015919 | 0.015352
23:30 | 0.0072722 | 0.0068483 | 0.0080701 | 0.0087804 | 0.0097632 | 0.011607 | 0.013991 | 0.016232
24:00 | 0.0055284 | 0.0048732 | 0.0055559 | 0.0062414 | 0.0075701 | 0.0096892 | 0.012071 | 0.015291

## Total heat continuous HPs
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C | 16.5°C to 19.5°C
0:30 | 0.017749 | 0.018023 | 0.017318 | 0.017222 | 0.017232 | 0.01744 | 0.017115 | 0.01718 | This sheet provides half-hourly normalised profiles of total heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1), for the heat pumps found in the cleaned RHPP sample which were operated in the "continuous" heating pattern, as found by clustering of profiles.
1:00 | 0.018306 | 0.018397 | 0.017753 | 0.017569 | 0.017792 | 0.018547 | 0.018623 | 0.018981
1:30 | 0.0189 | 0.018887 | 0.018343 | 0.018102 | 0.018632 | 0.020149 | 0.021008 | 0.022494
2:00 | 0.019279 | 0.019226 | 0.018772 | 0.018521 | 0.019244 | 0.021164 | 0.022471 | 0.024417
2:30 | 0.0196 | 0.019645 | 0.019427 | 0.019314 | 0.020415 | 0.023053 | 0.025241 | 0.027874
3:00 | 0.020029 | 0.020016 | 0.020049 | 0.020042 | 0.021353 | 0.02425 | 0.026734 | 0.028912
3:30 | 0.020536 | 0.020484 | 0.020798 | 0.020901 | 0.022417 | 0.025659 | 0.028623 | 0.030526
4:00 | 0.020759 | 0.020733 | 0.021156 | 0.021183 | 0.022472 | 0.025162 | 0.027553 | 0.028083
4:30 | 0.020834 | 0.021018 | 0.021471 | 0.021454 | 0.022578 | 0.024887 | 0.026875 | 0.026358
5:00 | 0.020961 | 0.021345 | 0.02179 | 0.021706 | 0.022719 | 0.024564 | 0.025837 | 0.024311
5:30 | 0.021273 | 0.021984 | 0.022558 | 0.022519 | 0.02375 | 0.025642 | 0.02662 | 0.024832
6:00 | 0.021616 | 0.022735 | 0.023558 | 0.023579 | 0.025079 | 0.026979 | 0.027548 | 0.025682
6:30 | 0.022098 | 0.023582 | 0.024724 | 0.024879 | 0.026681 | 0.02866 | 0.02897 | 0.027222
7:00 | 0.022801 | 0.024235 | 0.025627 | 0.025856 | 0.027843 | 0.029739 | 0.02972 | 0.028111
7:30 | 0.023609 | 0.024644 | 0.026159 | 0.026331 | 0.028268 | 0.029802 | 0.029302 | 0.027833
8:00 | 0.024229 | 0.024715 | 0.026181 | 0.026137 | 0.027723 | 0.028629 | 0.027613 | 0.026292
8:30 | 0.024478 | 0.02453 | 0.025764 | 0.025483 | 0.026462 | 0.026666 | 0.025451 | 0.024277
9:00 | 0.024287 | 0.024106 | 0.024936 | 0.024496 | 0.02483 | 0.024447 | 0.023348 | 0.022224
9:30 | 0.023776 | 0.023449 | 0.023778 | 0.023261 | 0.023053 | 0.022281 | 0.021437 | 0.020344
10:00 | 0.022962 | 0.022609 | 0.022466 | 0.021905 | 0.021374 | 0.020378 | 0.019695 | 0.018611
10:30 | 0.022168 | 0.021684 | 0.021177 | 0.02063 | 0.019927 | 0.018836 | 0.018311 | 0.017433
11:00 | 0.021292 | 0.020787 | 0.020038 | 0.019579 | 0.018726 | 0.017566 | 0.017168 | 0.016606
11:30 | 0.020557 | 0.02006 | 0.019172 | 0.018883 | 0.017871 | 0.016728 | 0.016505 | 0.016599
12:00 | 0.019841 | 0.01946 | 0.018538 | 0.018393 | 0.017215 | 0.016158 | 0.016085 | 0.016772
12:30 | 0.019347 | 0.019096 | 0.018205 | 0.01818 | 0.01694 | 0.016062 | 0.01627 | 0.017418
13:00 | 0.018955 | 0.018813 | 0.017953 | 0.018012 | 0.016762 | 0.015969 | 0.01636 | 0.017571
13:30 | 0.018707 | 0.01873 | 0.017891 | 0.018091 | 0.016907 | 0.016265 | 0.016974 | 0.018295
14:00 | 0.018469 | 0.018612 | 0.017826 | 0.01813 | 0.016925 | 0.016247 | 0.016993 | 0.018344
14:30 | 0.018427 | 0.018665 | 0.018012 | 0.018396 | 0.017214 | 0.016515 | 0.017362 | 0.018929
15:00 | 0.018547 | 0.018796 | 0.018262 | 0.01866 | 0.017395 | 0.016331 | 0.016946 | 0.018578
15:30 | 0.018998 | 0.019189 | 0.018765 | 0.019214 | 0.017988 | 0.016706 | 0.017343 | 0.01909
16:00 | 0.019619 | 0.019679 | 0.019346 | 0.019815 | 0.018575 | 0.016979 | 0.017621 | 0.019032
16:30 | 0.02043 | 0.02036 | 0.020153 | 0.020636 | 0.019547 | 0.018022 | 0.018944 | 0.019981
17:00 | 0.021217 | 0.021085 | 0.021019 | 0.021445 | 0.020521 | 0.019093 | 0.02005 | 0.020555
17:30 | 0.021816 | 0.021759 | 0.021804 | 0.022167 | 0.021488 | 0.020332 | 0.021069 | 0.021294
18:00 | 0.022162 | 0.022101 | 0.022282 | 0.022556 | 0.022098 | 0.021048 | 0.021215 | 0.0211
18:30 | 0.022201 | 0.022106 | 0.022424 | 0.022638 | 0.022369 | 0.021377 | 0.020959 | 0.020643
19:00 | 0.022108 | 0.021896 | 0.022352 | 0.022516 | 0.022347 | 0.021338 | 0.02039 | 0.019923
19:30 | 0.022021 | 0.021728 | 0.022218 | 0.022353 | 0.022191 | 0.021131 | 0.019818 | 0.019303
20:00 | 0.022063 | 0.021682 | 0.022113 | 0.022195 | 0.021987 | 0.02082 | 0.019085 | 0.018471
20:30 | 0.022129 | 0.021658 | 0.021989 | 0.02201 | 0.021802 | 0.020534 | 0.018499 | 0.017711
21:00 | 0.022108 | 0.021527 | 0.021759 | 0.021723 | 0.021517 | 0.020258 | 0.017947 | 0.016947
21:30 | 0.021871 | 0.021166 | 0.021261 | 0.021166 | 0.020985 | 0.019885 | 0.017596 | 0.016519
22:00 | 0.021338 | 0.02055 | 0.020479 | 0.020331 | 0.020114 | 0.019231 | 0.017085 | 0.016105
22:30 | 0.020372 | 0.019686 | 0.019408 | 0.019223 | 0.018974 | 0.018276 | 0.016527 | 0.015817
23:00 | 0.019247 | 0.018785 | 0.01832 | 0.018162 | 0.017822 | 0.01718 | 0.015804 | 0.015396
23:30 | 0.018205 | 0.018121 | 0.017479 | 0.017373 | 0.017051 | 0.016521 | 0.01554 | 0.015399
24:00 | 0.017703 | 0.017856 | 0.01713 | 0.017064 | 0.016822 | 0.016493 | 0.015751 | 0.015604

## Total heat 100% ASHP
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C | 16.5°C to 19.5°C
0:30 | 0.011154 | 0.012155 | 0.011846 | 0.011672 | 0.011774 | 0.012432 | 0.013569 | 0.015339 | This sheet provides half-hourly normalised profiles of total heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1), for only the air-source heat pumps found in the cleaned RHPP dataset (75% of the RHPP dataset was air-source, 25% ground-source).
1:00 | 0.011647 | 0.012481 | 0.012166 | 0.011939 | 0.012175 | 0.013288 | 0.0148 | 0.016824
1:30 | 0.012252 | 0.012997 | 0.012746 | 0.01252 | 0.013019 | 0.014896 | 0.017225 | 0.02024
2:00 | 0.01249 | 0.013325 | 0.013178 | 0.012965 | 0.013618 | 0.01592 | 0.018752 | 0.022241
2:30 | 0.012887 | 0.013873 | 0.013937 | 0.013896 | 0.014934 | 0.018095 | 0.022021 | 0.026529
3:00 | 0.013495 | 0.014455 | 0.014653 | 0.014749 | 0.016023 | 0.019652 | 0.024049 | 0.028659
3:30 | 0.014416 | 0.015324 | 0.015656 | 0.015924 | 0.017539 | 0.021801 | 0.026949 | 0.031867
4:00 | 0.015204 | 0.016017 | 0.016385 | 0.016664 | 0.018256 | 0.022272 | 0.027148 | 0.03113
4:30 | 0.016223 | 0.01702 | 0.017431 | 0.017768 | 0.019467 | 0.023598 | 0.028562 | 0.032073
5:00 | 0.017449 | 0.018193 | 0.018678 | 0.01901 | 0.020684 | 0.02478 | 0.029432 | 0.032356
5:30 | 0.018909 | 0.019885 | 0.020602 | 0.020982 | 0.022814 | 0.027076 | 0.031236 | 0.03351
6:00 | 0.020528 | 0.021801 | 0.022941 | 0.023326 | 0.025187 | 0.028832 | 0.031468 | 0.032056
6:30 | 0.022545 | 0.024089 | 0.025709 | 0.026179 | 0.028225 | 0.031012 | 0.031574 | 0.030027
7:00 | 0.024571 | 0.026087 | 0.028071 | 0.028505 | 0.030527 | 0.032052 | 0.030595 | 0.027344
7:30 | 0.026114 | 0.027421 | 0.029497 | 0.029778 | 0.031622 | 0.032074 | 0.029193 | 0.025111
8:00 | 0.026876 | 0.02782 | 0.029671 | 0.029604 | 0.030895 | 0.030353 | 0.026849 | 0.022747
8:30 | 0.026983 | 0.027522 | 0.028901 | 0.028515 | 0.02915 | 0.028029 | 0.02456 | 0.020905
9:00 | 0.026556 | 0.026786 | 0.027556 | 0.026918 | 0.026867 | 0.025333 | 0.022283 | 0.019271
9:30 | 0.025835 | 0.025726 | 0.02589 | 0.025131 | 0.024551 | 0.02284 | 0.020288 | 0.017913
10:00 | 0.025039 | 0.024566 | 0.024225 | 0.023422 | 0.022489 | 0.020674 | 0.018623 | 0.016775
10:30 | 0.024368 | 0.023449 | 0.022736 | 0.021982 | 0.020845 | 0.019033 | 0.0174 | 0.016011
11:00 | 0.023695 | 0.022519 | 0.021565 | 0.020927 | 0.019635 | 0.017809 | 0.016491 | 0.015569
11:30 | 0.023081 | 0.021878 | 0.020836 | 0.020406 | 0.019041 | 0.017446 | 0.016473 | 0.016144
12:00 | 0.022495 | 0.021426 | 0.020429 | 0.02019 | 0.018775 | 0.017475 | 0.016886 | 0.017041
12:30 | 0.022003 | 0.021189 | 0.020306 | 0.020249 | 0.018888 | 0.01798 | 0.017925 | 0.018444
13:00 | 0.021535 | 0.020911 | 0.020033 | 0.020076 | 0.018703 | 0.01784 | 0.018007 | 0.018698
13:30 | 0.021205 | 0.020751 | 0.019804 | 0.019995 | 0.018693 | 0.017922 | 0.018387 | 0.019404
14:00 | 0.021043 | 0.020551 | 0.019544 | 0.019833 | 0.01851 | 0.017513 | 0.017937 | 0.018999
14:30 | 0.021321 | 0.020721 | 0.019786 | 0.020213 | 0.019002 | 0.01801 | 0.018708 | 0.019996
15:00 | 0.021873 | 0.021091 | 0.02028 | 0.020736 | 0.019504 | 0.018254 | 0.018907 | 0.020204
15:30 | 0.022671 | 0.021847 | 0.021227 | 0.021751 | 0.020655 | 0.019547 | 0.020487 | 0.022008
16:00 | 0.023353 | 0.022559 | 0.022148 | 0.022653 | 0.021603 | 0.020351 | 0.021214 | 0.022196
16:30 | 0.024038 | 0.023428 | 0.023255 | 0.023802 | 0.023016 | 0.021882 | 0.022866 | 0.023223
17:00 | 0.024725 | 0.024204 | 0.024178 | 0.024661 | 0.024033 | 0.02267 | 0.023327 | 0.022786
17:30 | 0.025336 | 0.024929 | 0.024947 | 0.025331 | 0.024893 | 0.023458 | 0.02357 | 0.022531
18:00 | 0.025714 | 0.02523 | 0.025212 | 0.025404 | 0.024979 | 0.023271 | 0.022335 | 0.020698
18:30 | 0.025723 | 0.025176 | 0.025119 | 0.025156 | 0.024791 | 0.022965 | 0.02101 | 0.018985
19:00 | 0.025658 | 0.024861 | 0.024766 | 0.0247 | 0.024386 | 0.022427 | 0.019733 | 0.017386
19:30 | 0.025598 | 0.024535 | 0.024409 | 0.024296 | 0.024049 | 0.022007 | 0.018972 | 0.016546
20:00 | 0.025536 | 0.02424 | 0.024097 | 0.023957 | 0.023692 | 0.021574 | 0.01832 | 0.015772
20:30 | 0.025086 | 0.023846 | 0.023722 | 0.023566 | 0.02327 | 0.021179 | 0.017793 | 0.015239
21:00 | 0.02421 | 0.023224 | 0.02312 | 0.022962 | 0.022654 | 0.020782 | 0.017322 | 0.014777
21:30 | 0.022651 | 0.02202 | 0.021904 | 0.021734 | 0.021466 | 0.020001 | 0.016852 | 0.014637
22:00 | 0.020413 | 0.02011 | 0.019974 | 0.019786 | 0.01955 | 0.018558 | 0.016029 | 0.014287
22:30 | 0.017441 | 0.017508 | 0.017349 | 0.017151 | 0.016946 | 0.016399 | 0.014884 | 0.014022
23:00 | 0.014521 | 0.014955 | 0.014766 | 0.014581 | 0.014378 | 0.014135 | 0.013571 | 0.013644
23:30 | 0.012312 | 0.013086 | 0.012835 | 0.012678 | 0.012541 | 0.012579 | 0.012822 | 0.013841
24:00 | 0.011223 | 0.01221 | 0.011913 | 0.011754 | 0.011686 | 0.011922 | 0.012594 | 0.013995

## Total heat 100% GSHP
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C | 16.5°C to 19.5°C
0:30 | 0.018665 | 0.018455 | 0.017137 | 0.016899 | 0.017416 | 0.01904 | 0.01885 | 0.01801 | This sheet provides half-hourly normalised profiles of total heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1), for only the ground-source heat pumps found in the cleaned RHPP dataset (75% of the RHPP dataset was air-source, 25% ground-source).
1:00 | 0.018598 | 0.018448 | 0.017161 | 0.016824 | 0.017448 | 0.019391 | 0.019226 | 0.01835
1:30 | 0.018727 | 0.018487 | 0.017253 | 0.016783 | 0.017498 | 0.019585 | 0.01944 | 0.018791
2:00 | 0.019013 | 0.018549 | 0.017354 | 0.016832 | 0.017573 | 0.019551 | 0.019341 | 0.018554
2:30 | 0.019346 | 0.018698 | 0.017651 | 0.017095 | 0.017903 | 0.019886 | 0.019718 | 0.018732
3:00 | 0.019699 | 0.018898 | 0.018102 | 0.017498 | 0.018353 | 0.020204 | 0.020111 | 0.018429
3:30 | 0.020162 | 0.019158 | 0.01864 | 0.01797 | 0.018824 | 0.020616 | 0.020593 | 0.01838
4:00 | 0.020565 | 0.019424 | 0.019031 | 0.0183 | 0.019043 | 0.020574 | 0.020346 | 0.017314
4:30 | 0.020794 | 0.019762 | 0.019472 | 0.018794 | 0.019428 | 0.020854 | 0.020761 | 0.017417
5:00 | 0.02081 | 0.020143 | 0.020051 | 0.0195 | 0.020174 | 0.021502 | 0.021755 | 0.018411
5:30 | 0.020615 | 0.020686 | 0.020997 | 0.020676 | 0.021613 | 0.023128 | 0.024183 | 0.021233
6:00 | 0.020712 | 0.021491 | 0.022193 | 0.022092 | 0.023495 | 0.025354 | 0.026897 | 0.024511
6:30 | 0.021471 | 0.022644 | 0.023693 | 0.023884 | 0.025737 | 0.027976 | 0.029957 | 0.028284
7:00 | 0.023123 | 0.023982 | 0.025225 | 0.025611 | 0.027752 | 0.030162 | 0.032088 | 0.031407
7:30 | 0.024733 | 0.025091 | 0.026444 | 0.026862 | 0.028893 | 0.030963 | 0.032589 | 0.032772
8:00 | 0.02568 | 0.025656 | 0.026987 | 0.027231 | 0.028949 | 0.030563 | 0.031723 | 0.032767
8:30 | 0.025643 | 0.025548 | 0.026807 | 0.026877 | 0.028098 | 0.029175 | 0.030278 | 0.032026
9:00 | 0.025092 | 0.024992 | 0.026041 | 0.026028 | 0.026775 | 0.027475 | 0.028588 | 0.03079
9:30 | 0.024221 | 0.024113 | 0.024852 | 0.024822 | 0.02511 | 0.025338 | 0.026606 | 0.028741
10:00 | 0.023031 | 0.023112 | 0.023412 | 0.023343 | 0.023305 | 0.023124 | 0.024201 | 0.02577
10:30 | 0.021787 | 0.022017 | 0.021963 | 0.021881 | 0.021633 | 0.021071 | 0.022101 | 0.022938
11:00 | 0.020541 | 0.020985 | 0.02066 | 0.020645 | 0.020181 | 0.019336 | 0.020222 | 0.020596
11:30 | 0.019507 | 0.020079 | 0.019623 | 0.019733 | 0.019045 | 0.01793 | 0.018789 | 0.019259
12:00 | 0.018488 | 0.01933 | 0.018815 | 0.019021 | 0.0181 | 0.016852 | 0.017495 | 0.018452
12:30 | 0.017635 | 0.018721 | 0.018237 | 0.018488 | 0.01742 | 0.016116 | 0.01642 | 0.017741
13:00 | 0.017059 | 0.018258 | 0.017822 | 0.018126 | 0.016969 | 0.015664 | 0.015637 | 0.016813
13:30 | 0.016911 | 0.018014 | 0.017579 | 0.017961 | 0.0167 | 0.015335 | 0.015047 | 0.01581
14:00 | 0.016957 | 0.017936 | 0.017489 | 0.017905 | 0.016469 | 0.015004 | 0.014517 | 0.015069
14:30 | 0.017122 | 0.017922 | 0.017549 | 0.017912 | 0.016321 | 0.014721 | 0.01404 | 0.014839
15:00 | 0.017349 | 0.018054 | 0.017787 | 0.0181 | 0.016427 | 0.014591 | 0.013773 | 0.014912
15:30 | 0.01814 | 0.018506 | 0.018337 | 0.01866 | 0.017015 | 0.014775 | 0.013893 | 0.015219
16:00 | 0.01921 | 0.019399 | 0.019258 | 0.01964 | 0.017966 | 0.015164 | 0.014209 | 0.015372
16:30 | 0.020475 | 0.020467 | 0.020463 | 0.02085 | 0.019188 | 0.01596 | 0.01492 | 0.01603
17:00 | 0.021284 | 0.021411 | 0.02165 | 0.02202 | 0.020425 | 0.017101 | 0.016053 | 0.017089
17:30 | 0.021977 | 0.022094 | 0.022596 | 0.022949 | 0.021647 | 0.0187 | 0.017946 | 0.019038
18:00 | 0.022547 | 0.022546 | 0.023271 | 0.023604 | 0.022707 | 0.020368 | 0.020074 | 0.020981
18:30 | 0.023106 | 0.022858 | 0.023708 | 0.024004 | 0.023514 | 0.021889 | 0.021969 | 0.022722
19:00 | 0.023252 | 0.023008 | 0.023957 | 0.02421 | 0.023955 | 0.022922 | 0.022885 | 0.023558
19:30 | 0.023104 | 0.023061 | 0.023921 | 0.024168 | 0.024017 | 0.023428 | 0.023096 | 0.023836
20:00 | 0.022894 | 0.023016 | 0.023686 | 0.023878 | 0.0238 | 0.023453 | 0.022636 | 0.023553
20:30 | 0.022859 | 0.022797 | 0.02328 | 0.023388 | 0.023398 | 0.023174 | 0.022051 | 0.02288
21:00 | 0.022766 | 0.02236 | 0.022766 | 0.022779 | 0.022833 | 0.022642 | 0.021168 | 0.021728
21:30 | 0.022499 | 0.021759 | 0.022062 | 0.022015 | 0.022056 | 0.021929 | 0.020396 | 0.020466
22:00 | 0.021897 | 0.021022 | 0.021114 | 0.021021 | 0.021045 | 0.021065 | 0.01962 | 0.019369
22:30 | 0.021087 | 0.020233 | 0.019976 | 0.01979 | 0.019843 | 0.020126 | 0.019056 | 0.018526
23:00 | 0.020257 | 0.019424 | 0.018789 | 0.018579 | 0.018669 | 0.019145 | 0.0184 | 0.017731
23:30 | 0.019529 | 0.018857 | 0.017851 | 0.01763 | 0.017826 | 0.018554 | 0.018116 | 0.017373
24:00 | 0.019063 | 0.018532 | 0.017287 | 0.017122 | 0.017445 | 0.018526 | 0.018215 | 0.01741

## Space heat gas boilers
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C
0:30 | 0.0074335 | 0.0054782 | 0.0046798 | 0.0041237 | 0.0042025 | 0.0039323 | 0.0039323 | This spreadsheet contains half-hourly normalised profiles for space heating demand at various outdoor temperatures (in 3-degree bands). It is based on the cleaned, weighted EDRP dataset, with DHW and cooking demand subtracted. Once cooking has been subtracted, gas use above 18°C is assumed to be exclusively for DHW, and is scaled according to relationships taken from SAP 2012.
1:00 | 0.0070039 | 0.0051644 | 0.0043222 | 0.0037168 | 0.0036439 | 0.0034695 | 0.0034695
1:30 | 0.0066645 | 0.0049233 | 0.004011 | 0.0034075 | 0.0031612 | 0.00292 | 0.00292
2:00 | 0.0066488 | 0.004897 | 0.0039791 | 0.0033372 | 0.003118 | 0.0027835 | 0.0027835
2:30 | 0.0066571 | 0.0049279 | 0.0039199 | 0.0033807 | 0.0031061 | 0.0028065 | 0.0028065
3:00 | 0.0066658 | 0.0050607 | 0.0040437 | 0.0035035 | 0.0031857 | 0.0031154 | 0.0031154
3:30 | 0.0069693 | 0.0053638 | 0.0043381 | 0.0039642 | 0.0034792 | 0.0033458 | 0.0033458
4:00 | 0.0073079 | 0.0059287 | 0.0048725 | 0.0046603 | 0.0041983 | 0.0044561 | 0.0044561
4:30 | 0.0082525 | 0.0072083 | 0.0062046 | 0.0061517 | 0.0054891 | 0.0061423 | 0.0061423
5:00 | 0.010033 | 0.009978 | 0.0092308 | 0.0099511 | 0.0090393 | 0.0099358 | 0.0099358
5:30 | 0.012635 | 0.013795 | 0.013532 | 0.016037 | 0.015465 | 0.016203 | 0.016203
6:00 | 0.016905 | 0.019947 | 0.020505 | 0.025385 | 0.025049 | 0.026112 | 0.026112
6:30 | 0.021468 | 0.026565 | 0.028051 | 0.035365 | 0.035748 | 0.038017 | 0.038017
7:00 | 0.025513 | 0.031121 | 0.033148 | 0.040706 | 0.041401 | 0.043042 | 0.043042
7:30 | 0.02687 | 0.031869 | 0.033592 | 0.039953 | 0.040792 | 0.042408 | 0.042408
8:00 | 0.027301 | 0.030411 | 0.03131 | 0.035167 | 0.035687 | 0.035994 | 0.035994
8:30 | 0.027656 | 0.028368 | 0.02842 | 0.029401 | 0.029762 | 0.029836 | 0.029836
9:00 | 0.026587 | 0.025288 | 0.024437 | 0.022911 | 0.02317 | 0.021704 | 0.021704
9:30 | 0.026191 | 0.02353 | 0.02185 | 0.019012 | 0.018981 | 0.017879 | 0.017879
10:00 | 0.025721 | 0.022189 | 0.019993 | 0.016181 | 0.015807 | 0.014423 | 0.014423
10:30 | 0.025116 | 0.021134 | 0.018906 | 0.014276 | 0.013871 | 0.012683 | 0.012683
11:00 | 0.024626 | 0.020635 | 0.018292 | 0.013339 | 0.012867 | 0.011355 | 0.011355
11:30 | 0.024287 | 0.020361 | 0.018158 | 0.013039 | 0.01246 | 0.010693 | 0.010693
12:00 | 0.024041 | 0.020633 | 0.018809 | 0.013565 | 0.013142 | 0.010916 | 0.010916
12:30 | 0.024123 | 0.020851 | 0.019408 | 0.014159 | 0.013291 | 0.011032 | 0.011032
13:00 | 0.02434 | 0.021071 | 0.019831 | 0.014429 | 0.013461 | 0.011273 | 0.011273
13:30 | 0.024677 | 0.02164 | 0.020561 | 0.014732 | 0.013876 | 0.011986 | 0.011986
14:00 | 0.025216 | 0.022138 | 0.021371 | 0.015582 | 0.01455 | 0.012475 | 0.012475
14:30 | 0.026098 | 0.023241 | 0.022743 | 0.017072 | 0.015637 | 0.013258 | 0.013258
15:00 | 0.027655 | 0.025759 | 0.025959 | 0.020706 | 0.018618 | 0.016627 | 0.016627
15:30 | 0.028763 | 0.028083 | 0.029099 | 0.024833 | 0.022061 | 0.019558 | 0.019558
16:00 | 0.030225 | 0.031258 | 0.033331 | 0.031241 | 0.029089 | 0.026954 | 0.026954
16:30 | 0.030509 | 0.033427 | 0.036143 | 0.03609 | 0.035466 | 0.034273 | 0.034273
17:00 | 0.030729 | 0.034919 | 0.037786 | 0.039666 | 0.039399 | 0.038947 | 0.038947
17:30 | 0.030736 | 0.035092 | 0.037672 | 0.040026 | 0.040985 | 0.039712 | 0.039712
18:00 | 0.030251 | 0.034535 | 0.036979 | 0.040178 | 0.041567 | 0.041001 | 0.041001
18:30 | 0.030005 | 0.034175 | 0.036377 | 0.040353 | 0.041974 | 0.043068 | 0.043068
19:00 | 0.029743 | 0.033556 | 0.035584 | 0.040016 | 0.041497 | 0.043969 | 0.043969
19:30 | 0.029458 | 0.032813 | 0.034525 | 0.039112 | 0.040348 | 0.044264 | 0.044264
20:00 | 0.028657 | 0.031674 | 0.033045 | 0.037915 | 0.039284 | 0.043095 | 0.043095
20:30 | 0.027575 | 0.030117 | 0.031173 | 0.035667 | 0.037078 | 0.040342 | 0.040342
21:00 | 0.025883 | 0.027771 | 0.028398 | 0.032271 | 0.034058 | 0.037044 | 0.037044
21:30 | 0.023372 | 0.024538 | 0.024832 | 0.027634 | 0.029084 | 0.031783 | 0.031783
22:00 | 0.019387 | 0.019618 | 0.019651 | 0.021252 | 0.022685 | 0.024746 | 0.024746
22:30 | 0.015284 | 0.014491 | 0.014136 | 0.014829 | 0.015965 | 0.017018 | 0.017018
23:00 | 0.011691 | 0.010345 | 0.0098902 | 0.0098842 | 0.010644 | 0.010871 | 0.010871
23:30 | 0.00919 | 0.007774 | 0.0071801 | 0.0066899 | 0.0071173 | 0.0070865 | 0.0070865
24:00 | 0.0078831 | 0.0063376 | 0.0057201 | 0.005127 | 0.0054421 | 0.0054458 | 0.0054458

## Space heat 75% ASHP 25% GSHP
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C
0:30 | 0.01266 | 0.013195 | 0.012501 | 0.012229 | 0.011936 | 0.011674 | 0.0088219 | 0.0088219 | This sheet provides half-hourly normalised profiles of space heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1), for the mix of heat pumps found in the RHPP sample (75% air-source, 25% ground-source). They were produced by subtracting the DHW demand (obtained from the EDRP dataset) from the heat pump heat demand from the RHPP dataset. DHW demand was obtained from the EDRP dataset by subtracting gas use for cooking, then assuming that gas use above 18°C is exclusively for DHW, and scaling this according to relationships taken from SAP 2012.
1:00 | 0.012872 | 0.013275 | 0.012534 | 0.012127 | 0.011862 | 0.011964 | 0.0094118 | 0.0094118
1:30 | 0.012993 | 0.013251 | 0.012463 | 0.011887 | 0.011559 | 0.011661 | 0.0084662 | 0.0084662
2:00 | 0.013049 | 0.013292 | 0.012543 | 0.011896 | 0.011553 | 0.011627 | 0.0083361 | 0.0083361
2:30 | 0.012973 | 0.013228 | 0.012573 | 0.011931 | 0.011604 | 0.011662 | 0.0083951 | 0.0083951
3:00 | 0.013392 | 0.013569 | 0.013068 | 0.012494 | 0.012338 | 0.012792 | 0.01098 | 0.01098
3:30 | 0.013978 | 0.014032 | 0.013661 | 0.013145 | 0.013155 | 0.014003 | 0.013731 | 0.013731
4:00 | 0.014957 | 0.014937 | 0.014714 | 0.014262 | 0.014494 | 0.015866 | 0.017904 | 0.017904
4:30 | 0.015795 | 0.015821 | 0.015665 | 0.015284 | 0.01564 | 0.017377 | 0.020947 | 0.020947
5:00 | 0.016773 | 0.016906 | 0.016892 | 0.01657 | 0.01704 | 0.019109 | 0.023661 | 0.023661
5:30 | 0.017688 | 0.01828 | 0.018569 | 0.018358 | 0.019134 | 0.021787 | 0.027003 | 0.027003
6:00 | 0.019142 | 0.020285 | 0.021151 | 0.021111 | 0.02252 | 0.026015 | 0.032125 | 0.032125
6:30 | 0.02119 | 0.022779 | 0.024285 | 0.024546 | 0.026863 | 0.031389 | 0.038223 | 0.038223
7:00 | 0.023623 | 0.025176 | 0.027202 | 0.027645 | 0.030617 | 0.035453 | 0.041781 | 0.041781
7:30 | 0.025637 | 0.026918 | 0.029179 | 0.029617 | 0.032773 | 0.03725 | 0.042176 | 0.042176
8:00 | 0.026832 | 0.027728 | 0.029884 | 0.030042 | 0.032757 | 0.036155 | 0.039096 | 0.039096
8:30 | 0.027134 | 0.02769 | 0.029463 | 0.029323 | 0.031248 | 0.033444 | 0.034952 | 0.034952
9:00 | 0.026821 | 0.027128 | 0.028328 | 0.027958 | 0.028988 | 0.030007 | 0.030529 | 0.030529
9:30 | 0.026186 | 0.026216 | 0.026804 | 0.026334 | 0.026624 | 0.026789 | 0.027204 | 0.027204
10:00 | 0.025415 | 0.02521 | 0.025235 | 0.024724 | 0.024536 | 0.024175 | 0.024985 | 0.024985
10:30 | 0.02468 | 0.024157 | 0.023748 | 0.023273 | 0.022789 | 0.022092 | 0.023457 | 0.023457
11:00 | 0.023859 | 0.023191 | 0.02247 | 0.022106 | 0.021342 | 0.020251 | 0.021438 | 0.021438
11:30 | 0.022988 | 0.022326 | 0.021434 | 0.021251 | 0.020191 | 0.018775 | 0.019286 | 0.019286
12:00 | 0.022082 | 0.021601 | 0.020669 | 0.020632 | 0.019277 | 0.017637 | 0.017313 | 0.017313
12:30 | 0.021247 | 0.02104 | 0.020147 | 0.020222 | 0.018694 | 0.016998 | 0.016305 | 0.016305
13:00 | 0.020649 | 0.020632 | 0.019733 | 0.019893 | 0.018258 | 0.016407 | 0.015263 | 0.015263
13:30 | 0.020265 | 0.020348 | 0.01936 | 0.019652 | 0.017966 | 0.01595 | 0.014542 | 0.014542
14:00 | 0.02022 | 0.020234 | 0.019207 | 0.019617 | 0.017892 | 0.015656 | 0.014093 | 0.014093
14:30 | 0.020384 | 0.020242 | 0.019267 | 0.019748 | 0.017993 | 0.015439 | 0.013484 | 0.013484
15:00 | 0.020867 | 0.020548 | 0.019712 | 0.020198 | 0.018403 | 0.015387 | 0.012754 | 0.012754
15:30 | 0.021533 | 0.021056 | 0.02037 | 0.020874 | 0.019112 | 0.015722 | 0.012581 | 0.012581
16:00 | 0.022421 | 0.021922 | 0.021463 | 0.022008 | 0.020402 | 0.016935 | 0.014642 | 0.014642
16:30 | 0.023278 | 0.022868 | 0.02268 | 0.023283 | 0.022013 | 0.018815 | 0.018062 | 0.018062
17:00 | 0.024149 | 0.023875 | 0.023955 | 0.024559 | 0.023664 | 0.020827 | 0.021476 | 0.021476
17:30 | 0.02486 | 0.024692 | 0.024927 | 0.025471 | 0.024986 | 0.022718 | 0.023859 | 0.023859
18:00 | 0.025497 | 0.02525 | 0.025591 | 0.026025 | 0.0259 | 0.024271 | 0.025206 | 0.025206
18:30 | 0.025811 | 0.025442 | 0.025841 | 0.026177 | 0.026403 | 0.025505 | 0.02581 | 0.02581
19:00 | 0.025938 | 0.025363 | 0.025806 | 0.026081 | 0.026548 | 0.026167 | 0.025602 | 0.025602
19:30 | 0.025934 | 0.0252 | 0.025613 | 0.025868 | 0.026493 | 0.02645 | 0.025398 | 0.025398
20:00 | 0.025936 | 0.025065 | 0.025431 | 0.025665 | 0.026373 | 0.026613 | 0.025326 | 0.025326
20:30 | 0.025651 | 0.02477 | 0.025107 | 0.025307 | 0.026058 | 0.026538 | 0.025121 | 0.025121
21:00 | 0.024971 | 0.024186 | 0.024518 | 0.024679 | 0.025423 | 0.026194 | 0.024362 | 0.024362
21:30 | 0.023624 | 0.022996 | 0.023262 | 0.023367 | 0.024013 | 0.024944 | 0.022938 | 0.022938
22:00 | 0.021644 | 0.021191 | 0.021351 | 0.021396 | 0.021883 | 0.022918 | 0.021269 | 0.021269
22:30 | 0.018951 | 0.018728 | 0.018714 | 0.018667 | 0.01889 | 0.019622 | 0.018215 | 0.018215
23:00 | 0.016284 | 0.016286 | 0.01608 | 0.015982 | 0.015913 | 0.016073 | 0.014296 | 0.014296
23:30 | 0.014138 | 0.014399 | 0.013955 | 0.013808 | 0.01352 | 0.013084 | 0.010374 | 0.010374
24:00 | 0.013029 | 0.013476 | 0.012875 | 0.012705 | 0.012361 | 0.011813 | 0.008802 | 0.008802

## Space heat 100% daytime
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C
0:30 | 0.0012114 | 0.0021972 | 0.0015026 | 0.0010519 | 0.00076174 | 0.00034371 | 0 | 0 | This sheet provides half-hourly normalised profiles of space heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1), for the heat pumps in the RHPP sample which were operated in the "daytime" heating pattern, as found by clustering of profiles. They were produced by subtracting the DHW demand (obtained from the EDRP dataset) from the heat pump heat demand from the RHPP dataset. DHW demand was obtained from the EDRP dataset by subtracting gas use for cooking, then assuming that gas use above 18°C is exclusively for DHW, and scaling this according to relationships taken from SAP 2012.
1:00 | 0.00080904 | 0.0020441 | 0.0012066 | 0.0007308 | 0.00033532 | 0.00010144 | 0 | 0
1:30 | 0.00074959 | 0.0020575 | 0.0011812 | 0.0006642 | 0.00019916 | 8.0959e-05 | 0 | 0
2:00 | 0.00085992 | 0.0021464 | 0.0013296 | 0.00079589 | 0.00027595 | 0.00016492 | 4.9293e-05 | 4.9293e-05
2:30 | 0.0010717 | 0.0022529 | 0.0013567 | 0.00075891 | 0.00029214 | 0.00017294 | 0.00010157 | 0.00010157
3:00 | 0.0015681 | 0.0027027 | 0.0015314 | 0.00086847 | 0.00049782 | 0.00035307 | 0.00035225 | 0.00035225
3:30 | 0.0023954 | 0.0034634 | 0.0019459 | 0.0012226 | 0.00099683 | 0.0007974 | 0.0010563 | 0.0010563
4:00 | 0.0039023 | 0.0045399 | 0.0029648 | 0.0022399 | 0.002019 | 0.0017156 | 0.0023652 | 0.0023652
4:30 | 0.0056792 | 0.0056899 | 0.0042528 | 0.0035879 | 0.0031266 | 0.0024067 | 0.0032773 | 0.0032773
5:00 | 0.0076237 | 0.0070987 | 0.0059883 | 0.0053551 | 0.0044089 | 0.003144 | 0.0041285 | 0.0041285
5:30 | 0.01013 | 0.0099139 | 0.0092642 | 0.0088096 | 0.0080277 | 0.0077657 | 0.010659 | 0.010659
6:00 | 0.014242 | 0.014678 | 0.014874 | 0.014676 | 0.014956 | 0.017125 | 0.02291 | 0.02291
6:30 | 0.020266 | 0.021336 | 0.022603 | 0.022943 | 0.025253 | 0.03096 | 0.039495 | 0.039495
7:00 | 0.026258 | 0.027649 | 0.02996 | 0.030539 | 0.034214 | 0.041005 | 0.048662 | 0.048662
7:30 | 0.030554 | 0.032285 | 0.035128 | 0.035766 | 0.039891 | 0.046266 | 0.051646 | 0.051646
8:00 | 0.032431 | 0.034449 | 0.037188 | 0.037453 | 0.040742 | 0.045108 | 0.047672 | 0.047672
8:30 | 0.032907 | 0.034853 | 0.037074 | 0.037001 | 0.039172 | 0.041785 | 0.042288 | 0.042288
9:00 | 0.032778 | 0.034273 | 0.035851 | 0.035442 | 0.036445 | 0.037331 | 0.035988 | 0.035988
9:30 | 0.032583 | 0.03324 | 0.034258 | 0.033704 | 0.033835 | 0.033435 | 0.0312 | 0.0312
10:00 | 0.03239 | 0.032167 | 0.032687 | 0.032132 | 0.031557 | 0.030331 | 0.028536 | 0.028536
10:30 | 0.032064 | 0.031102 | 0.031218 | 0.030804 | 0.029671 | 0.027929 | 0.027284 | 0.027284
11:00 | 0.031417 | 0.03008 | 0.029887 | 0.029673 | 0.028123 | 0.025974 | 0.025886 | 0.025886
11:30 | 0.030359 | 0.029007 | 0.028687 | 0.0287 | 0.026907 | 0.02467 | 0.025133 | 0.025133
12:00 | 0.029231 | 0.027953 | 0.027678 | 0.027878 | 0.025899 | 0.023478 | 0.023687 | 0.023687
12:30 | 0.028096 | 0.027059 | 0.02691 | 0.027268 | 0.025156 | 0.022665 | 0.02245 | 0.02245
13:00 | 0.027495 | 0.026473 | 0.026313 | 0.026762 | 0.024553 | 0.021788 | 0.020044 | 0.020044
13:30 | 0.027277 | 0.026181 | 0.025798 | 0.026356 | 0.024166 | 0.021356 | 0.018691 | 0.018691
14:00 | 0.027659 | 0.02624 | 0.025593 | 0.026231 | 0.024105 | 0.021176 | 0.018046 | 0.018046
14:30 | 0.027965 | 0.02626 | 0.025373 | 0.026058 | 0.023846 | 0.020666 | 0.01687 | 0.01687
15:00 | 0.028413 | 0.026377 | 0.025459 | 0.026081 | 0.023716 | 0.02015 | 0.015157 | 0.015157
15:30 | 0.028672 | 0.026483 | 0.025766 | 0.026302 | 0.023875 | 0.020067 | 0.013786 | 0.013786
16:00 | 0.029011 | 0.027131 | 0.0269 | 0.027399 | 0.02535 | 0.02181 | 0.016204 | 0.016204
16:30 | 0.028923 | 0.027821 | 0.02812 | 0.028686 | 0.027324 | 0.024273 | 0.020292 | 0.020292
17:00 | 0.028909 | 0.028561 | 0.029172 | 0.029826 | 0.029254 | 0.026717 | 0.025134 | 0.025134
17:30 | 0.028992 | 0.028973 | 0.029631 | 0.030265 | 0.030394 | 0.028443 | 0.028456 | 0.028456
18:00 | 0.029533 | 0.029393 | 0.029936 | 0.030449 | 0.031098 | 0.030056 | 0.031263 | 0.031263
18:30 | 0.029886 | 0.029583 | 0.029948 | 0.03025 | 0.03128 | 0.031424 | 0.032259 | 0.032259
19:00 | 0.030134 | 0.029597 | 0.029764 | 0.029917 | 0.031255 | 0.03239 | 0.032729 | 0.032729
19:30 | 0.029983 | 0.029281 | 0.02927 | 0.029329 | 0.030966 | 0.032744 | 0.032781 | 0.032781
20:00 | 0.02968 | 0.02877 | 0.028736 | 0.028816 | 0.030792 | 0.033206 | 0.034546 | 0.034546
20:30 | 0.028577 | 0.027773 | 0.027848 | 0.027977 | 0.030063 | 0.032969 | 0.03488 | 0.03488
21:00 | 0.026677 | 0.026208 | 0.026423 | 0.026583 | 0.028588 | 0.031736 | 0.033156 | 0.033156
21:30 | 0.023364 | 0.023463 | 0.023666 | 0.023795 | 0.02543 | 0.028258 | 0.028162 | 0.028162
22:00 | 0.018916 | 0.019472 | 0.019524 | 0.019563 | 0.020823 | 0.023154 | 0.02242 | 0.02242
22:30 | 0.013431 | 0.014251 | 0.01409 | 0.014007 | 0.014797 | 0.016423 | 0.015719 | 0.015719
23:00 | 0.0082803 | 0.0091647 | 0.0088401 | 0.0086468 | 0.0090454 | 0.0098948 | 0.0094677 | 0.0094677
23:30 | 0.0044157 | 0.0052262 | 0.0047799 | 0.0044806 | 0.0045237 | 0.0045674 | 0.0039852 | 0.0039852
24:00 | 0.0022298 | 0.0030801 | 0.0025228 | 0.0021564 | 0.0019927 | 0.0016248 | 0.0011276 | 0.0011276

## Space heat 100% bimodal
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C
0:30 | 0.0033555 | 0.0022461 | 0.0019008 | 0.0020784 | 0.0018771 | 0.0016147 | 0.00086254 | 0.00086254 | This sheet provides half-hourly normalised profiles of space heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1), for the heat pumps in the RHPP sample which were operated in the "bimodal" heating pattern, as found by clustering of profiles. They were produced by subtracting the DHW demand (obtained from the EDRP dataset) from the heat pump heat demand from the RHPP dataset. DHW demand was obtained from the EDRP dataset by subtracting gas use for cooking, then assuming that gas use above 18°C is exclusively for DHW, and scaling this according to relationships taken from SAP 2012.
1:00 | 0.0046891 | 0.0030721 | 0.0023874 | 0.0025743 | 0.0025313 | 0.0023149 | 0.0012815 | 0.0012815
1:30 | 0.0056703 | 0.0036425 | 0.002498 | 0.0025446 | 0.0024236 | 0.0021029 | 0.00086254 | 0.00086254
2:00 | 0.0048058 | 0.0035753 | 0.0023385 | 0.0022151 | 0.001998 | 0.0012705 | 0.00041858 | 0.00041858
2:30 | 0.0042237 | 0.0034635 | 0.0022817 | 0.0021263 | 0.0016968 | 0.00056531 | 0 | 0
3:00 | 0.004303 | 0.0035995 | 0.0027002 | 0.0026537 | 0.0020406 | 0.00048056 | 0 | 0
3:30 | 0.0054325 | 0.0041766 | 0.0033978 | 0.0033977 | 0.0028283 | 0.00097854 | 0 | 0
4:00 | 0.0065663 | 0.005135 | 0.0041125 | 0.004047 | 0.0038361 | 0.0022857 | 0 | 0
4:30 | 0.0077667 | 0.0070476 | 0.0055824 | 0.0054133 | 0.0057465 | 0.0062824 | 0.006977 | 0.006977
5:00 | 0.0098156 | 0.010263 | 0.0092026 | 0.009226 | 0.0098941 | 0.013404 | 0.018576 | 0.018576
5:30 | 0.011894 | 0.014383 | 0.015085 | 0.015526 | 0.016628 | 0.022273 | 0.032392 | 0.032392
6:00 | 0.016505 | 0.019773 | 0.023163 | 0.024323 | 0.026379 | 0.032492 | 0.039042 | 0.039042
6:30 | 0.022231 | 0.025699 | 0.031238 | 0.032992 | 0.036323 | 0.041869 | 0.042748 | 0.042748
7:00 | 0.029631 | 0.032267 | 0.038956 | 0.041008 | 0.045278 | 0.05112 | 0.047465 | 0.047465
7:30 | 0.033977 | 0.036164 | 0.042811 | 0.044534 | 0.048784 | 0.054317 | 0.052252 | 0.052252
8:00 | 0.035491 | 0.037002 | 0.042448 | 0.043347 | 0.046832 | 0.05207 | 0.05213 | 0.05213
8:30 | 0.032509 | 0.033733 | 0.037173 | 0.037217 | 0.039474 | 0.043278 | 0.043667 | 0.043667
9:00 | 0.027656 | 0.028942 | 0.03001 | 0.029334 | 0.029869 | 0.031114 | 0.028416 | 0.028416
9:30 | 0.022039 | 0.023386 | 0.022513 | 0.02144 | 0.020497 | 0.018889 | 0.014055 | 0.014055
10:00 | 0.017985 | 0.018915 | 0.016492 | 0.015093 | 0.013222 | 0.0090736 | 0.0039955 | 0.0039955
10:30 | 0.015596 | 0.015759 | 0.012493 | 0.011011 | 0.0092536 | 0.004568 | 0.00082401 | 0.00082401
11:00 | 0.014801 | 0.014379 | 0.010656 | 0.0092294 | 0.0075819 | 0.0027228 | 0 | 0
11:30 | 0.014459 | 0.014215 | 0.010693 | 0.0095231 | 0.0081981 | 0.004527 | 0.0024303 | 0.0024303
12:00 | 0.013981 | 0.014871 | 0.011736 | 0.010839 | 0.0097271 | 0.0078489 | 0.0086108 | 0.0086108
12:30 | 0.012889 | 0.015472 | 0.01288 | 0.012301 | 0.011815 | 0.012238 | 0.016466 | 0.016466
13:00 | 0.011755 | 0.015708 | 0.013151 | 0.012851 | 0.012441 | 0.013518 | 0.021113 | 0.021113
13:30 | 0.011395 | 0.01541 | 0.012497 | 0.012396 | 0.011729 | 0.011938 | 0.019602 | 0.019602
14:00 | 0.012162 | 0.015225 | 0.012024 | 0.011941 | 0.010873 | 0.0097787 | 0.017628 | 0.017628
14:30 | 0.014475 | 0.015797 | 0.012811 | 0.012602 | 0.011666 | 0.0094243 | 0.016539 | 0.016539
15:00 | 0.01771 | 0.017667 | 0.015297 | 0.014879 | 0.014286 | 0.011184 | 0.018413 | 0.018413
15:30 | 0.021934 | 0.021192 | 0.019464 | 0.019046 | 0.018926 | 0.015703 | 0.023727 | 0.023727
16:00 | 0.026309 | 0.025725 | 0.024721 | 0.024555 | 0.024582 | 0.02187 | 0.030187 | 0.030187
16:30 | 0.030809 | 0.030772 | 0.030828 | 0.031144 | 0.031464 | 0.029526 | 0.036896 | 0.036896
17:00 | 0.03495 | 0.03509 | 0.036258 | 0.036784 | 0.036638 | 0.033171 | 0.033332 | 0.033332
17:30 | 0.03875 | 0.038634 | 0.040487 | 0.040859 | 0.040333 | 0.035571 | 0.029427 | 0.029427
18:00 | 0.041904 | 0.041029 | 0.042813 | 0.042787 | 0.041655 | 0.036552 | 0.02628 | 0.02628
18:30 | 0.044144 | 0.042455 | 0.043757 | 0.043493 | 0.042691 | 0.039654 | 0.0302 | 0.0302
19:00 | 0.045299 | 0.042681 | 0.043318 | 0.043058 | 0.04258 | 0.041117 | 0.031162 | 0.031162
19:30 | 0.045646 | 0.042026 | 0.042045 | 0.041951 | 0.041765 | 0.040968 | 0.029758 | 0.029758
20:00 | 0.045054 | 0.040829 | 0.040395 | 0.040329 | 0.039811 | 0.038992 | 0.026272 | 0.026272
20:30 | 0.043142 | 0.038981 | 0.038547 | 0.038372 | 0.037489 | 0.0371 | 0.025562 | 0.025562
21:00 | 0.039572 | 0.036417 | 0.036368 | 0.036152 | 0.035248 | 0.036508 | 0.027999 | 0.027999
21:30 | 0.034208 | 0.032283 | 0.032957 | 0.032966 | 0.032372 | 0.035835 | 0.03377 | 0.03377
22:00 | 0.026847 | 0.026204 | 0.027721 | 0.028198 | 0.028101 | 0.033326 | 0.038519 | 0.038519
22:30 | 0.018004 | 0.018029 | 0.020087 | 0.02079 | 0.020697 | 0.025407 | 0.034756 | 0.034756
23:00 | 0.01002 | 0.010061 | 0.011902 | 0.012546 | 0.012376 | 0.015141 | 0.02314 | 0.02314
23:30 | 0.0047992 | 0.0044203 | 0.0053971 | 0.0057238 | 0.0052773 | 0.0059713 | 0.0096003 | 0.0096003
24:00 | 0.002837 | 0.0021859 | 0.002404 | 0.0025828 | 0.002266 | 0.0020452 | 0.0026443 | 0.0026443

## Space heat 100% continuous
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C
0:30 | 0.01773 | 0.018051 | 0.01719 | 0.01704 | 0.016948 | 0.016997 | 0.014632 | 0.014632 | This sheet provides half-hourly normalised profiles of space heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1), for the heat pumps in the RHPP sample which were operated in the "continuous" heating pattern, as found by clustering of profiles. They were produced by subtracting the DHW demand (obtained from the EDRP dataset) from the heat pump heat demand from the RHPP dataset. DHW demand was obtained from the EDRP dataset by subtracting gas use for cooking, then assuming that gas use above 18°C is exclusively for DHW, and scaling this according to relationships taken from SAP 2012.
1:00 | 0.018106 | 0.018174 | 0.01732 | 0.016997 | 0.016982 | 0.017445 | 0.015362 | 0.015362
1:30 | 0.018255 | 0.018115 | 0.017233 | 0.0167 | 0.016636 | 0.017087 | 0.014068 | 0.014068
2:00 | 0.018391 | 0.018156 | 0.017303 | 0.016684 | 0.016643 | 0.017114 | 0.013852 | 0.013852
2:30 | 0.018237 | 0.018027 | 0.017315 | 0.016742 | 0.016812 | 0.017423 | 0.014477 | 0.014477
3:00 | 0.018624 | 0.018338 | 0.017918 | 0.017477 | 0.017856 | 0.019131 | 0.018572 | 0.018572
3:30 | 0.019029 | 0.018677 | 0.018567 | 0.018247 | 0.018869 | 0.020777 | 0.022794 | 0.022794
4:00 | 0.01973 | 0.019501 | 0.019683 | 0.019421 | 0.020241 | 0.022761 | 0.027754 | 0.027754
4:30 | 0.020108 | 0.020186 | 0.020516 | 0.020301 | 0.021243 | 0.024175 | 0.031132 | 0.031132
5:00 | 0.020589 | 0.020971 | 0.021417 | 0.021234 | 0.02242 | 0.025769 | 0.033865 | 0.033865
5:30 | 0.020862 | 0.021623 | 0.022231 | 0.022115 | 0.023655 | 0.027371 | 0.035347 | 0.035347
6:00 | 0.021132 | 0.022361 | 0.023273 | 0.023242 | 0.02521 | 0.02924 | 0.036628 | 0.036628
6:30 | 0.021443 | 0.023072 | 0.02434 | 0.024459 | 0.026815 | 0.031009 | 0.037481 | 0.037481
7:00 | 0.022118 | 0.023682 | 0.025246 | 0.025462 | 0.028099 | 0.032287 | 0.037776 | 0.037776
7:30 | 0.023075 | 0.024195 | 0.02594 | 0.026116 | 0.028786 | 0.032584 | 0.036531 | 0.036531
8:00 | 0.023991 | 0.02452 | 0.026273 | 0.026235 | 0.028585 | 0.031558 | 0.033614 | 0.033614
8:30 | 0.024553 | 0.024629 | 0.026176 | 0.0259 | 0.027562 | 0.029426 | 0.030256 | 0.030256
9:00 | 0.02463 | 0.024482 | 0.025609 | 0.025181 | 0.026069 | 0.026924 | 0.027635 | 0.027635
9:30 | 0.024344 | 0.024068 | 0.024642 | 0.024156 | 0.024385 | 0.024572 | 0.025965 | 0.025965
10:00 | 0.023702 | 0.023428 | 0.023476 | 0.022963 | 0.022822 | 0.022707 | 0.024881 | 0.024881
10:30 | 0.022993 | 0.022581 | 0.022202 | 0.021711 | 0.021333 | 0.020972 | 0.023394 | 0.023394
11:00 | 0.022104 | 0.021665 | 0.020982 | 0.020587 | 0.019949 | 0.019206 | 0.021087 | 0.021087
11:30 | 0.021241 | 0.020785 | 0.01989 | 0.019667 | 0.018668 | 0.017395 | 0.0179 | 0.0179
12:00 | 0.020363 | 0.020013 | 0.019028 | 0.018942 | 0.017566 | 0.015881 | 0.014961 | 0.014961
12:30 | 0.019672 | 0.019437 | 0.018434 | 0.018448 | 0.016815 | 0.014867 | 0.013145 | 0.013145
13:00 | 0.019156 | 0.019027 | 0.018025 | 0.018116 | 0.016372 | 0.014248 | 0.012158 | 0.012158
13:30 | 0.018731 | 0.018763 | 0.017738 | 0.017963 | 0.016177 | 0.013913 | 0.011802 | 0.011802
14:00 | 0.018442 | 0.018606 | 0.017635 | 0.017985 | 0.01616 | 0.013774 | 0.011557 | 0.011557
14:30 | 0.0183 | 0.018556 | 0.017721 | 0.018154 | 0.016304 | 0.013684 | 0.011116 | 0.011116
15:00 | 0.018487 | 0.018771 | 0.018106 | 0.018583 | 0.01671 | 0.013646 | 0.010406 | 0.010406
15:30 | 0.018912 | 0.019121 | 0.01858 | 0.019116 | 0.017289 | 0.013764 | 0.010057 | 0.010057
16:00 | 0.019636 | 0.019709 | 0.019307 | 0.0199 | 0.018158 | 0.014369 | 0.011407 | 0.011407
16:30 | 0.020436 | 0.020354 | 0.020098 | 0.020704 | 0.019172 | 0.01558 | 0.014187 | 0.014187
17:00 | 0.021288 | 0.021145 | 0.02108 | 0.021637 | 0.020417 | 0.017379 | 0.017726 | 0.017726
17:30 | 0.021902 | 0.021851 | 0.021932 | 0.022423 | 0.021593 | 0.019383 | 0.020469 | 0.020469
18:00 | 0.022332 | 0.022293 | 0.02257 | 0.022978 | 0.022566 | 0.021051 | 0.021774 | 0.021774
18:30 | 0.022436 | 0.022368 | 0.022832 | 0.02319 | 0.023127 | 0.022109 | 0.021923 | 0.021923
19:00 | 0.022411 | 0.022219 | 0.022869 | 0.023184 | 0.023334 | 0.022587 | 0.021258 | 0.021258
19:30 | 0.022412 | 0.022141 | 0.022857 | 0.02316 | 0.023404 | 0.022849 | 0.020983 | 0.020983
20:00 | 0.022583 | 0.022234 | 0.022917 | 0.023184 | 0.023468 | 0.023049 | 0.020492 | 0.020492
20:30 | 0.022764 | 0.02233 | 0.022922 | 0.023138 | 0.023504 | 0.023172 | 0.020223 | 0.020223
21:00 | 0.022825 | 0.022277 | 0.022768 | 0.022928 | 0.023341 | 0.02319 | 0.019697 | 0.019697
21:30 | 0.022602 | 0.021909 | 0.02223 | 0.022305 | 0.022716 | 0.022765 | 0.019257 | 0.019257
22:00 | 0.022067 | 0.021275 | 0.021387 | 0.021382 | 0.02169 | 0.021972 | 0.018773 | 0.018773
22:30 | 0.021011 | 0.020323 | 0.020155 | 0.02007 | 0.020211 | 0.020422 | 0.017624 | 0.017624
23:00 | 0.019776 | 0.019334 | 0.01891 | 0.018828 | 0.01873 | 0.018625 | 0.015887 | 0.015887
23:30 | 0.018548 | 0.018516 | 0.017833 | 0.017769 | 0.017538 | 0.017104 | 0.014175 | 0.014175
24:00 | 0.017917 | 0.018139 | 0.017322 | 0.017277 | 0.017053 | 0.01669 | 0.013941 | 0.013941

## Space heat 100% ASHP
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C
0:30 | 0.010347 | 0.011411 | 0.010824 | 0.010364 | 0.0097208 | 0.0082876 | 0.004349 | 0.004349 | This sheet provides half-hourly normalised profiles of space heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1), for only the air-source heat pumps in the RHPP sample (75% of the RHPP sample was air-source and 25% ground-source). They were produced by subtracting the DHW demand (obtained from the EDRP dataset) from the heat pump heat demand from the RHPP dataset. DHW demand was obtained from the EDRP dataset by subtracting gas use for cooking, then assuming that gas use above 18°C is exclusively for DHW, and scaling this according to relationships taken from SAP 2012.
1:00 | 0.010691 | 0.01154 | 0.010889 | 0.010302 | 0.0096539 | 0.008521 | 0.0048696 | 0.0048696
1:30 | 0.010862 | 0.011543 | 0.010828 | 0.010093 | 0.0093485 | 0.0082243 | 0.0041187 | 0.0041187
2:00 | 0.010826 | 0.011576 | 0.010904 | 0.010104 | 0.0093192 | 0.008218 | 0.0041755 | 0.0041755
2:30 | 0.010617 | 0.011459 | 0.010861 | 0.010094 | 0.009298 | 0.0081482 | 0.0041156 | 0.0041156
3:00 | 0.011016 | 0.011799 | 0.011295 | 0.010639 | 0.0099986 | 0.009284 | 0.0062933 | 0.0062933
3:30 | 0.011626 | 0.012305 | 0.011864 | 0.011326 | 0.010885 | 0.010617 | 0.0090252 | 0.0090252
4:00 | 0.012714 | 0.013323 | 0.013018 | 0.012594 | 0.012437 | 0.012795 | 0.013585 | 0.013585
4:30 | 0.013773 | 0.014369 | 0.014128 | 0.013793 | 0.013849 | 0.014716 | 0.017145 | 0.017145
5:00 | 0.015155 | 0.015709 | 0.015606 | 0.015317 | 0.015508 | 0.016907 | 0.020141 | 0.020141
5:30 | 0.016657 | 0.017491 | 0.017698 | 0.01751 | 0.018061 | 0.020375 | 0.023984 | 0.023984
6:00 | 0.018779 | 0.020031 | 0.020934 | 0.02096 | 0.022223 | 0.025692 | 0.030328 | 0.030328
6:30 | 0.021442 | 0.023104 | 0.024815 | 0.025208 | 0.027585 | 0.032443 | 0.037882 | 0.037882
7:00 | 0.024213 | 0.025948 | 0.028341 | 0.02896 | 0.032162 | 0.037515 | 0.042845 | 0.042845
7:30 | 0.026342 | 0.027912 | 0.030596 | 0.031211 | 0.034748 | 0.039917 | 0.044194 | 0.044194
8:00 | 0.027588 | 0.028799 | 0.031344 | 0.031647 | 0.03475 | 0.038869 | 0.041895 | 0.041895
8:30 | 0.027985 | 0.02876 | 0.030799 | 0.030746 | 0.033014 | 0.035953 | 0.037872 | 0.037872
9:00 | 0.027736 | 0.028172 | 0.029505 | 0.029142 | 0.030412 | 0.032069 | 0.033265 | 0.033265
9:30 | 0.027118 | 0.02717 | 0.027776 | 0.027244 | 0.027681 | 0.028413 | 0.029276 | 0.029276
10:00 | 0.026392 | 0.026025 | 0.026016 | 0.025406 | 0.025254 | 0.025275 | 0.02623 | 0.02623
10:30 | 0.025742 | 0.024853 | 0.024373 | 0.023788 | 0.023235 | 0.022751 | 0.023626 | 0.023626
11:00 | 0.025015 | 0.023816 | 0.02301 | 0.022529 | 0.021629 | 0.020579 | 0.02079 | 0.02079
11:30 | 0.024213 | 0.022956 | 0.021981 | 0.021696 | 0.0205 | 0.019201 | 0.018738 | 0.018738
12:00 | 0.023408 | 0.022277 | 0.021293 | 0.021188 | 0.019743 | 0.018383 | 0.017767 | 0.017767
12:30 | 0.022646 | 0.021778 | 0.02086 | 0.020916 | 0.019349 | 0.018108 | 0.018132 | 0.018132
13:00 | 0.02206 | 0.0214 | 0.02046 | 0.020615 | 0.018953 | 0.017518 | 0.017538 | 0.017538
13:30 | 0.02155 | 0.021064 | 0.01999 | 0.020277 | 0.018563 | 0.016802 | 0.016404 | 0.016404
14:00 | 0.021398 | 0.020869 | 0.019723 | 0.020134 | 0.018402 | 0.016205 | 0.015229 | 0.015229
14:30 | 0.021537 | 0.020861 | 0.019753 | 0.020292 | 0.018587 | 0.015985 | 0.01466 | 0.01466
15:00 | 0.022111 | 0.021224 | 0.020267 | 0.020846 | 0.019129 | 0.016053 | 0.014163 | 0.014163
15:30 | 0.022727 | 0.021766 | 0.020982 | 0.021596 | 0.019915 | 0.016634 | 0.014462 | 0.014462
16:00 | 0.023488 | 0.022573 | 0.022072 | 0.022701 | 0.02121 | 0.018102 | 0.01701 | 0.01701
16:30 | 0.024158 | 0.023457 | 0.023253 | 0.023953 | 0.022905 | 0.020424 | 0.021536 | 0.021536
17:00 | 0.025063 | 0.024496 | 0.024547 | 0.025251 | 0.024698 | 0.022798 | 0.025879 | 0.025879
17:30 | 0.025837 | 0.025428 | 0.02559 | 0.026231 | 0.02614 | 0.024882 | 0.02838 | 0.02838
18:00 | 0.026547 | 0.026094 | 0.026315 | 0.026816 | 0.027055 | 0.02636 | 0.028893 | 0.028893
18:30 | 0.026802 | 0.026309 | 0.026557 | 0.026938 | 0.027487 | 0.027393 | 0.028386 | 0.028386
19:00 | 0.026952 | 0.026195 | 0.026453 | 0.026761 | 0.027552 | 0.02782 | 0.027692 | 0.027692
19:30 | 0.027017 | 0.025965 | 0.026212 | 0.026486 | 0.027451 | 0.027872 | 0.027279 | 0.027279
20:00 | 0.027081 | 0.025773 | 0.026027 | 0.026296 | 0.027326 | 0.027904 | 0.027361 | 0.027361
20:30 | 0.026643 | 0.025401 | 0.025685 | 0.025941 | 0.026949 | 0.027644 | 0.026824 | 0.026824
21:00 | 0.025682 | 0.024728 | 0.025022 | 0.025262 | 0.026206 | 0.027179 | 0.025892 | 0.025892
21:30 | 0.023882 | 0.023312 | 0.023532 | 0.023693 | 0.024489 | 0.025581 | 0.023895 | 0.023895
22:00 | 0.021362 | 0.021138 | 0.02126 | 0.021319 | 0.021903 | 0.023056 | 0.021739 | 0.021739
22:30 | 0.017968 | 0.018122 | 0.018099 | 0.018019 | 0.018247 | 0.018889 | 0.017655 | 0.017655
23:00 | 0.014617 | 0.01514 | 0.014961 | 0.01477 | 0.01459 | 0.014379 | 0.012458 | 0.012458
23:30 | 0.011971 | 0.012835 | 0.012456 | 0.012167 | 0.01166 | 0.010542 | 0.007248 | 0.007248
24:00 | 0.010644 | 0.011724 | 0.011223 | 0.01086 | 0.01022 | 0.0087161 | 0.0047752 | 0.0047752

## Space heat 100% GSHP
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C
0:30 | 0.018675 | 0.018425 | 0.016774 | 0.016411 | 0.016899 | 0.019459 | 0.019663 | 0.019663 | This sheet provides half-hourly normalised profiles of space heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1), for only the ground-source heat pumps in the RHPP sample (75% of the RHPP sample was air-source and 25% ground-source). They were produced by subtracting the DHW demand (obtained from the EDRP dataset) from the heat pump heat demand from the RHPP dataset. DHW demand was obtained from the EDRP dataset by subtracting gas use for cooking, then assuming that gas use above 18°C is exclusively for DHW, and scaling this according to relationships taken from SAP 2012.
1:00 | 0.018575 | 0.018391 | 0.016772 | 0.016278 | 0.01689 | 0.020027 | 0.020869 | 0.020869
1:30 | 0.018649 | 0.01835 | 0.01678 | 0.016103 | 0.016773 | 0.019989 | 0.020353 | 0.020353
2:00 | 0.019022 | 0.018467 | 0.016957 | 0.016223 | 0.016969 | 0.020118 | 0.020599 | 0.020599
2:30 | 0.019429 | 0.018662 | 0.017348 | 0.016585 | 0.017479 | 0.020857 | 0.022506 | 0.022506
3:00 | 0.020001 | 0.019079 | 0.018128 | 0.017355 | 0.018509 | 0.022329 | 0.027121 | 0.027121
3:30 | 0.02064 | 0.019499 | 0.018931 | 0.018116 | 0.019417 | 0.023654 | 0.030974 | 0.030974
4:00 | 0.021355 | 0.020091 | 0.019756 | 0.018927 | 0.020322 | 0.024877 | 0.034406 | 0.034406
4:30 | 0.021643 | 0.020517 | 0.020332 | 0.019593 | 0.020921 | 0.025529 | 0.03655 | 0.03655
5:00 | 0.021538 | 0.020835 | 0.020882 | 0.020302 | 0.021689 | 0.026131 | 0.038531 | 0.038531
5:30 | 0.020833 | 0.020948 | 0.021397 | 0.021046 | 0.022585 | 0.026736 | 0.040101 | 0.040101
6:00 | 0.020345 | 0.021231 | 0.022047 | 0.021894 | 0.023803 | 0.027828 | 0.040525 | 0.040525
6:30 | 0.02056 | 0.021847 | 0.022971 | 0.023104 | 0.025357 | 0.029291 | 0.041053 | 0.041053
7:00 | 0.0219 | 0.022767 | 0.024036 | 0.024348 | 0.026761 | 0.030292 | 0.038921 | 0.038921
7:30 | 0.023491 | 0.023755 | 0.025133 | 0.025467 | 0.027653 | 0.030215 | 0.035404 | 0.035404
8:00 | 0.024458 | 0.024265 | 0.025602 | 0.025701 | 0.027366 | 0.028617 | 0.028868 | 0.028868
8:30 | 0.024466 | 0.024194 | 0.02545 | 0.02533 | 0.026273 | 0.026176 | 0.023613 | 0.023613
9:00 | 0.02397 | 0.023699 | 0.024708 | 0.024484 | 0.02475 | 0.023669 | 0.019177 | 0.019177
9:30 | 0.023329 | 0.02308 | 0.023762 | 0.023554 | 0.023304 | 0.021563 | 0.017818 | 0.017818
10:00 | 0.022526 | 0.022556 | 0.0228 | 0.022616 | 0.022183 | 0.020467 | 0.018626 | 0.018626
10:30 | 0.021675 | 0.021936 | 0.021849 | 0.021727 | 0.021289 | 0.01977 | 0.021039 | 0.021039
11:00 | 0.020695 | 0.021249 | 0.020906 | 0.020924 | 0.020405 | 0.019016 | 0.02206 | 0.02206
11:30 | 0.019705 | 0.020417 | 0.019928 | 0.020116 | 0.019328 | 0.017484 | 0.020095 | 0.020095
12:00 | 0.018558 | 0.019578 | 0.018993 | 0.019287 | 0.018103 | 0.015657 | 0.015514 | 0.015514
12:30 | 0.017559 | 0.018853 | 0.01828 | 0.01861 | 0.01714 | 0.014242 | 0.010973 | 0.010973
13:00 | 0.016946 | 0.018371 | 0.017853 | 0.018249 | 0.016653 | 0.013707 | 0.008814 | 0.008814
13:30 | 0.016962 | 0.018293 | 0.017815 | 0.018343 | 0.016734 | 0.014095 | 0.0098255 | 0.0098255
14:00 | 0.017242 | 0.018456 | 0.01802 | 0.018637 | 0.016959 | 0.014676 | 0.011772 | 0.011772
14:30 | 0.017535 | 0.018551 | 0.018232 | 0.018804 | 0.016986 | 0.014654 | 0.011549 | 0.011549
15:00 | 0.017792 | 0.018698 | 0.018514 | 0.01903 | 0.017114 | 0.014342 | 0.010204 | 0.010204
15:30 | 0.018635 | 0.01914 | 0.019078 | 0.019607 | 0.017742 | 0.014226 | 0.0090822 | 0.0090822
16:00 | 0.01987 | 0.020185 | 0.020192 | 0.020828 | 0.019045 | 0.014853 | 0.0099758 | 0.0099758
16:30 | 0.021227 | 0.021318 | 0.021512 | 0.022171 | 0.020476 | 0.0157 | 0.010579 | 0.010579
17:00 | 0.02194 | 0.02218 | 0.022658 | 0.02329 | 0.021664 | 0.016642 | 0.010999 | 0.010999
17:30 | 0.022393 | 0.022588 | 0.023331 | 0.023898 | 0.022524 | 0.017804 | 0.012361 | 0.012361
18:00 | 0.022707 | 0.022727 | 0.023674 | 0.024164 | 0.023169 | 0.01914 | 0.014866 | 0.014866
18:30 | 0.023069 | 0.022767 | 0.023806 | 0.024203 | 0.023603 | 0.020519 | 0.017521 | 0.017521
19:00 | 0.023045 | 0.022725 | 0.023842 | 0.02415 | 0.023753 | 0.02148 | 0.0178 | 0.0178
19:30 | 0.022822 | 0.022733 | 0.02373 | 0.024018 | 0.023722 | 0.022208 | 0.017802 | 0.017802
20:00 | 0.022649 | 0.022763 | 0.02354 | 0.023765 | 0.023593 | 0.02266 | 0.017201 | 0.017201
20:30 | 0.022793 | 0.022711 | 0.023292 | 0.023434 | 0.023472 | 0.023122 | 0.01815 | 0.01815
21:00 | 0.022888 | 0.022417 | 0.022936 | 0.022979 | 0.023161 | 0.023185 | 0.018147 | 0.018147
21:30 | 0.022777 | 0.021925 | 0.022342 | 0.022325 | 0.022546 | 0.022891 | 0.018623 | 0.018623
22:00 | 0.022234 | 0.021229 | 0.021392 | 0.021315 | 0.021504 | 0.022098 | 0.01839 | 0.01839
22:30 | 0.021395 | 0.02041 | 0.020132 | 0.019917 | 0.020059 | 0.020876 | 0.018091 | 0.018091
23:00 | 0.020543 | 0.019581 | 0.018825 | 0.018561 | 0.018681 | 0.019628 | 0.017596 | 0.017596
23:30 | 0.019728 | 0.018947 | 0.017714 | 0.017409 | 0.017573 | 0.018698 | 0.017156 | 0.017156
24:00 | 0.01921 | 0.018591 | 0.017051 | 0.016803 | 0.017099 | 0.018804 | 0.018138 | 0.018138

## Normalised DHW profile
All outdoor temperatures
0:30 | 0.060606 | This sheet gives the half-hourly normalised profile for Domestic Hot Water. It is based on the cleaned, weighted EDRP dataset, and assumes that once cooking has been removed, all gas use above 18°C is for DHW.
1:00 | 0.055616
1:30 | 0.054494
2:00 | 0.053614
2:30 | 0.053054
3:00 | 0.054972
3:30 | 0.058365
4:00 | 0.065475
4:30 | 0.080007
5:00 | 0.11827
5:30 | 0.17509
6:00 | 0.27085
6:30 | 0.3746
7:00 | 0.42063
7:30 | 0.39982
8:00 | 0.35289
8:30 | 0.29397
9:00 | 0.25255
9:30 | 0.21854
10:00 | 0.1928
10:30 | 0.17459
11:00 | 0.16463
11:30 | 0.16634
12:00 | 0.17565
12:30 | 0.16928
13:00 | 0.1593
13:30 | 0.14769
14:00 | 0.13998
14:30 | 0.14153
15:00 | 0.14944
15:30 | 0.18692
16:00 | 0.25656
16:30 | 0.34201
17:00 | 0.3884
17:30 | 0.3734
18:00 | 0.36995
18:30 | 0.34256
19:00 | 0.3096
19:30 | 0.27167
20:00 | 0.24324
20:30 | 0.21824
21:00 | 0.19301
21:30 | 0.17056
22:00 | 0.15326
22:30 | 0.12585
23:00 | 0.099511
23:30 | 0.080897
24:00 | 0.066233

## Daily regression equations
|  | Gradient | Y-intercept
Total heat demand |  |  |  | This sheet gives the regression equations relating effective outdoor temperature (T(eff)) to daily heat demand per dwelling (kWh), for a mean dwelling from the GB housing stock. These daily values are multiplied by the appropriate normalised profile to give half-hourly demand (kWh/half hour)
Gas boilers
| For T(eff)<14.2 | -5.463 | 90.55
| For T(eff)>14.2 | -0.988 | 26.84
75% ASHP 25% GSHP
| For T(eff)<14.3 | -5.88 | 97.2
| For T(eff)>14.3 | -1.11 | 30
Daytime cluster
| For T(eff)<14.4 | -5.31 | 87.6
| For T(eff)>14.4 | -0.95 | 24.9
Bi-modal cluster
| For T(eff)<13.9 | -5.23 | 83.7
| For T(eff)>13.9 | -0.83 | 22.4
Continuous cluster
| For T(eff)<14.1 | -6.23 | 103.1
| For T(eff)>14.1 | -1.41 | 35.1
100% ASHP
| For T(eff)<14.3 | -5.85 | 96.7
| For T(eff)>14.3 | -1.1 | 28.7
100% GSHP
| For T(eff)<14.3 | -5.96 | 98.7
| For T(eff)>14.3 | -1.15 | 29.8
Space heat demand
Gas boilers
| For T(eff)<14.1 | -5.128 | 75.24
| For T(eff)>14.1 | -0.715 | 12.97
75% ASHP 25% GSHP
| For T(eff)<14.3 | -5.55 | 84.3
| For T(eff)>14.3 | -0.79 | 16.1
Daytime cluster
| For T(eff)<14.4 | -5.07 | 75.9
| For T(eff)>14.4 | -0.62 | 12.1
Bi-modal cluster
| For T(eff)<13.9 | -4.9 | 70.8
| For T(eff)>13.9 | -0.5 | 9.5
Continuous cluster
| For T(eff)<14.3 | -5.85 | 89.7
| For T(eff)>14.3 | -0.92 | 18.9
100% ASHP
| For T(eff)<14.3 | -5.53 | 83.8
| For T(eff)>14.3 | -0.77 | 15.8
100% GSHP
| For T(eff)<14.3 | -5.64 | 85.8
| For T(eff)>14.3 | -0.82 | 16.9
Domestic Hot Water
| All temperatures and heating patterns | -0.324 | 12.9